## Slide 1: Modelling and measurement of 3D fields in tokamaks and stellarators
Shaun Haskey

## Slide 2: 3D fields in stellarators: Measuring and analyzing Alfvén waves on the H-1NF stellarator
[S. Haskey et al, A multichannel magnetic probe system…, RevSciIns, 2013]
[S. Haskey et al, Clustering of periodic multichannel…, CompPhysComms, 2014]
[S. Haskey et al, Synchronous imaging of coherent …, RevSciIns, 2014]
[S. Haskey et al, Visible light tomography…, accepted for publication, Nuclear Fusion, 2014]
Work with B. Blackwell, J. Howard, D. Pretty, B. Seiwald, M. Hole, N. Thapar, J. Wach
Part 1

## Slide 3: H1-NF is a flexible helical axis stellarator which is well suited to studying parameter dependences of Alfvén waves
3 field period HELIAC, Major radius: 1m, Minor radius: 0.1-0.2m, Magnetic Field: <1T, q: 0.5 -1 (rot transform 1~2), ne: 1-3x1018 , Te: 20eV, b: 0.01 - 0.1%, ICRH: 4-20MHz, 2x200kW, H/He plasmas
1. [S. Haskey et al, Clustering of periodic …, CompPhysComms, 2014]
Clusters identified using
datamining techniques1
Frequency (kHz)
Norm radius
Rotational Transform
kh = Ih/It

## Slide 4: Motivation
Spontaneously excited modes are observed on H-1NF
What is the nature of these modes?
What is driving these modes?
We require:
Details of their dispersion relations
  i.e w = vA|n-im|/R
  Datamining
Toroidal and poloidal mode numbers
  Helical Mirnov Array
Radial structure
  Synchronous imaging
  3D tomography
  Allowing for accurate comparisons with theory
  (for example normal modes from CAS3D3)
0.2
0.4
0.6
0.8
Frequency (kHz)
kh = Ih/It

## Slide 5: Motivation
Spontaneously excited modes are observed on H-1NF
What is the nature of these modes?
What is driving these modes?
We require:
Details of their dispersion relations
  i.e w = vA|n-im|/R
  Datamining
Toroidal and poloidal mode numbers
  Helical Mirnov Array
Radial structure
  Synchronous imaging
  3D tomography
  Allowing for accurate comparisons with theory
  (for example normal modes from CAS3D3)
0.2
0.4
0.6
0.8
Frequency (kHz)
kh = Ih/It

## Slide 6: A Helical Mirnov Array1 (HMA) was installed to improve measurement of 3D magnetic fluctuations
48 probe (16 x tri-axis) array compliments two existing poloidal arrays.
Motivation : provide frequency, toroidal and poloidal mode numbers, and polarization
1. [S. Haskey et al, A multichannel magnetic probe …, RevSci, 2013]
HMA
HMA

## Slide 7: The design of the HMA compliments existing PMAs and allows for unique mode number identification
PMA1
PMA2
HMA
HMA has even spacing in Boozer coordinates
(nearest point on LCFS)
HMA has more consistent LCFS-probe
distances and stronger signals
Consistent signals across the array that are simpler to analyze compared with the PMAs
HMA
PMA1,2
Band pass filtered HMA signals
n,m mode number
1. [S. Haskey et al, A multichannel magnetic probe …, RevSci, 2013]

## Slide 8: The HMA in combination with a PMA provides accurate toroidal and poloidal mode number identification
Mode number analysis using the non uniform DFT in two dimensions
This is the result the HMA was designed to provide
[S. Haskey et al, to be submitted]
The darker, the better the fit

## Slide 9: Motivation
Spontaneously excited modes are observed on H-1NF
What is the nature of these modes?
What is driving these modes?
We require:
Details of their dispersion relations
  Datamining
Toroidal and poloidal mode numbers
  Helical Mirnov Array
Radial structure
  Synchronous imaging
  3D tomography
  Allowing for accurate comparisons with theory
  (for example normal modes from CAS3D3)
0.2
0.4
0.6
0.8
Frequency (kHz)
kh = Ih/It

## Slide 10: Synchronous imaging1 of Alfven waves is not frame rate or readout noise limited - can be used to infer the radial structure of waves in the kHz – MHz range
Technique benefits
High resolution using ICCD cameras
Can be adapted to Bremsstrahlung or soft x-rays
Many exposures per readout increased SNR (shot noise is less important)
Not frame rate limited
Minimal quantity of data (i.e 16 readouts)
1. [S. Haskey et al, Synchronous imaging of coherent…,RevSci, 2014]
HMA probe reference signal
Camera gate/exposure
Mirnov signal and PLL pulses
Before phase lock
Phase (rad)
Phase (rad)
Strong coherent reference signal is required
Notes: - Describes how the technique works, and an example of it working for a high frequency mode

## Slide 11: Spectrally filtered synchronous imaging produces high resolution images of emissivity changes due to the waves
514nm CII emission is mainly dependent on dne at H-1 Te
HMA probe signal
Data acquired using 3 views
25kHz mode, 16 frames/cycle is the equivalent of 400,000 fps
S. Haskey et al, Synchronous imaging of coherent…,RevSci, 2014
Notes: Example of the technique applied to imaging.
Three views,
The mode we are trying to image in the magnetic signal
The data acquired with the imaging technique – DC, AC, slice.

## Slide 12: Motivation
Spontaneously excited modes are observed on H-1NF
What is the nature of these modes?
What is driving these modes?
We require:
Details of their dispersion relations
  Datamining
Toroidal and poloidal mode numbers
  Helical Mirnov Array
Radial structure
  Synchronous imaging
  3D tomography
  Allowing for accurate comparisons with theory
  (for example normal modes from CAS3D3)
0.2
0.4
0.6
0.8
Frequency (kHz)
kh = Ih/It

## Slide 13: 3D (+ time) tomography using Fourier basis modes in magnetic coordinates1
Includes all three spatial coordinates (+ time)
LOS -> Boozer coordinates
Well suited to unconventional viewing geometries
Can be solved using pseudo inverse, ART, SIRT,..
Mode representation
Discretised LOS measurement
Fourier Transform (wrt time) of P
1. [S. Haskey et al, Visible light tomography…, accepted for publication, Nuclear Fusion, 2014]
S is a 70,000 x 60 matrix in our application

## Slide 14: Tomographic reconstruction error can also be used to determine mode numbers
Excellent inversion is obtained with high resolution radial structure using a single Fourier mode in Boozer coordinates with 30 flux regions
EXPT
FIT
ERROR
Radial Structure
3 views, 35,000 lines of sight
de/e (5,-4)
[S. Haskey et al, Visible light tomography…, accepted for publication, Nuclear Fusion, 2014]
Amplitude
Phase
Notes: Same as the last slide, however, now back in the time domain.
Gives a better understanding of what is going on.
Describe each of the sub figures

## Slide 15
Inversion is improved using 2 basis modes
EXPT
FIT
ERROR
Radial Structure
3 views, 35,000 lines of sight
Structure of dominant basis mode is unchanged
Which 2nd basis mode to choose? Probably not worth including without good a priori reasons (i.e HAE).
Single dominant mode number : GAE, BAE?
This provides the radial mode structure which was the main goal of the synchronous imaging and tomography
[S. Haskey et al, Visible light tomography…, accepted for publication, Nuclear Fusion, 2014]
Amplitude
Phase
Notes: Same as the last slide, however, now back in the time domain.
Gives a better understanding of what is going on.
Describe each of the sub figures

## Slide 16: Motivation
Spontaneously excited modes are observed on H-1NF
What is the nature of these modes?
What is driving these modes?
We require:
Details of their dispersion relations
  Datamining
Toroidal and poloidal mode numbers
  Helical Mirnov Array
Radial structure
  Synchronous imaging
  3D tomography
  Allowing for accurate comparisons with theory
  (for example normal modes from CAS3D3)
Rotational Transform
0.2
0.4
0.6
0.8
Frequency (kHz)
kh = Ih/It

## Slide 17: Current work : Comparison with mode structures from CAS3D3
Continua and eigenvector images from Bertram et al, PPCF, 2012
CONTI (continua only)
CAS3D3
5,-4
Frequencies of these modes suggest they may be BAEs or BAAEs (Beta Alfvén-Acoustic Eigenmode)
CAS3D3
Red: shear Alfvén branch based on polarisation classification

## Slide 18
Now that we have a suitable mode from CAS3D3, we can calculate drive with CAS3DK – What is driving these modes?
dne (CAS3D3)
Normal displacement (CAS3D3)
Using dne and dTe from CAS3D3 the next step is to forward model the CII 514nm emissivity to compare with the tomographic inversions
Current work : Comparison with mode structures from CAS3D3
Amplitude
de/e

## Slide 19: Summary
3D fields in stellarators: Measuring and analyzing Alfvén waves on the H-1NF stellarator
A new Mirnov array, datamining techniques, synchronous imaging and 3D tomography have provided mode numbers, radial mode structure and dispersion relation information for spontaneously excited modes on H-1
Comparisons with theory have been extended and look promising - (BAE/BAAE) type modes?
The next question : What is driving these modes?

## Slide 20: 3D fields in tokamaks: Tailoring the plasma response using 3D fields (RMPs) (Single fluid linear MHD analysis of RMPs on DIII-D using MARS-F)
Work with M. Lanctot (GA) and Y. Liu (CCFE)
[Haskey et al, Linear ideal MHD predictions…, PPCF, 2014]
[Lanctot et al, Sustained suppression…, Nuclear Fusion, 2013 ]
[Haskey et al, Effects of resistivity and rotation…, Currently under DIII-D internal review, 2014]
Part 2

## Slide 21: Motivation
1. [M. Lanctot et al, NF, 2013]
m=-11 related to RFA, m=-8 is pitch resonant
+180
+90
-90
-180
RFA
Res
n=2 ELM suppression window on DIII-D1
ELM suppression depends on the applied field structure. Is ELM suppression correlated with pitch-resonant fields, kink-resonant fields (RFA), or a combination?
How does upper-lower array phasing modify the applied fields structure?
What effect do bN and q95 have on the plasma response?
What effect does upper-lower I-coil phasing have on the plasma response + experimental comparison?

## Slide 22: Motivation
1. [M. Lanctot et al, NF, 2013]
m=-11 related to RFA, m=-8 is pitch resonant
+180
+90
-90
-180
RFA
Res
n=2 ELM suppression window on DIII-D1
ELM suppression depends on the applied field structure. Is ELM suppression correlated with pitch-resonant fields, kink-resonant fields (RFA), or a combination?
How does upper-lower array phasing modify the applied fields structure?
What effect do bN and q95 have on the plasma response?
What effect does upper-lower I-coil phasing have on the plasma response + experimental comparison?

## Slide 23: The applied field structure can be varied considerably using the internal coils (I-coils) on DIII-D
Can apply dominant toroidal mode numbers n = 1,2 or 3
Phasing between upper and lower arrays modifies the applied field spectrum
MARS-F does not include the full geometry of the I-coils. The MARS-F applied fields have a single n (limiting case of many separate coils).

## Slide 24: Clear RFA plasma response for even parity n=2
00 Phasing
The MARS-F code1 is used to solve the linearized single fluid MHD equations to find the plasma response to these perturbations
  1. [Liu et al., Phys. Plasmas 2000]
Vac dBn
Plas dBn
Total dBn
Upper: | 0 | | 1/2 | | -1/2 | | 0 | | 1/2 | | -1/2 |
----------------------------------------------------------->phi
Lower: | 0 | | 1/2 | | -1/2 | | 0 | | 1/2 | | -1/2 |
n=2
Equilibrium is from
shot 146382 @ 3200ms
H-mode LSN,
ITER similar shape
q95 = 4.0, βN = 1.87

## Slide 25: Weak RFA plasma response for odd parity n=2
1800 Phasing
  1. [Liu et al., Phys. Plasmas 2000]
Vac dBn
Plas dBn
Total dBn
The MARS-F code1 is used to solve the linearized single fluid MHD equations to find the plasma response to these perturbations
n=2
Upper: | 0 | | 1/2 | | -1/2 | | 0 | | 1/2 | | -1/2 |
-------------------------------------------------->phi
Lower: | 0 | | -1/2| | +1/2| | 0 | | -1/2| | +1/2|

## Slide 26: The plasma response can be tailored by varying the applied field structure
The pitch-resonant and kink-resonant responses as we
vary plasma parameters and the applied field structure?
kink
[Haskey et al, Linear ideal MHD predictions…, PPCF, 2014]

## Slide 27
The plasma response is described using a pitch resonant metric and a RFA metric
RFA metric
Disruptions, braking torque (NTV), ELM suppression?
Pitch resonant : Screening Response Metric
Islands, stochastic regions, braking torque,
ELM suppression?
[Haskey et al, Linear ideal MHD predictions…, PPCF, 2014]

## Slide 28: Motivation
1. [M. Lanctot et al, NF, 2013]
m=-11 related to RFA, m=-8 is pitch resonant
+180
+90
-90
-180
RFA
Res
n=2 ELM suppression window on DIII-D1
ELM suppression depends on the applied field structure. Is ELM suppression correlated with pitch-resonant fields, kink-resonant fields (RFA), or a combination?
How does upper-lower array phasing modify the applied fields structure?
What effect do bN and q95 have on the plasma response?
What effect does upper-lower I-coil phasing have on the plasma response + experimental comparison?

## Slide 29: Multi-step workflow developed to obtain reliable MARS-F results over wide parameter range
Shot 146382 @ 3200ms
ITER similar shape
q95 = 4.0, βN = 1.87
CORSICA
DCON
CHEASE
Scaled q profiles
Scaled
pressure profiles
MARS-F
+
Post processing
dBRFA
βN
q95
q95
βN
[Haskey et al, Linear ideal MHD predictions…, PPCF, 2014]

## Slide 30: Effects of safety factor, plasma pressure have on the ideal single fluid linear plasma response
Vac pitch-res, even parity phasing
RFA, even parity phasing
RFA increases with bN
Minimal dependence on q95
Periodic maxima, low-n peeling mode?
Weak bN dependence (Shafranov shift)
Strong dependence on q95
[Haskey et al, Linear ideal MHD predictions…, PPCF, 2014]

## Slide 31: Motivation
1. [M. Lanctot et al, NF, 2013]
m=-11 related to RFA, m=-8 is pitch resonant
+180
+90
-90
-180
RFA
Res
n=2 ELM suppression window on DIII-D1
ELM suppression depends on the applied field structure. Is ELM suppression correlated with pitch-resonant fields, kink-resonant fields (RFA), or a combination?
How does upper-lower array phasing modify the applied fields structure?
What effect do bN and q95 have on the plasma response?
What effect does upper-lower I-coil phasing have on the plasma response + experimental comparison?

## Slide 32: The applied field structure is a dominant driver of the ideal single fluid linear plasma response
Vac Pitch-res
RFA
Phasings that maximise each response change with q95
The control we have over this dominant parameter depends on flexible RMP coil sets
ELM suppression
ELM suppression
A similar experiment is being tried this week at DIII-D
[Haskey et al, Linear ideal MHD predictions…, PPCF, 2014]
Only pitch res
Only RFA
Low-n peeling mode?
Related to narrow
ELM suppression windows?
It is possible to apply one dominant type of field

## Slide 33: Motivation
1. [M. Lanctot et al, NF, 2013]
m=-11 related to RFA, m=-8 is pitch resonant
+180
+90
-90
-180
RFA
Res
n=2 ELM suppression window on DIII-D1
ELM suppression depends on the applied field structure. Is ELM suppression correlated with pitch-resonant fields, kink-resonant fields (RFA), or a combination?
How does upper-lower array phasing modify the applied fields structure?
What effect do bN and q95 have on the plasma response?
What effect does upper-lower I-coil phasing have on the plasma response + experimental comparison?

## Slide 34: Summary
3D fields in stellarators: Measuring and analyzing Alfvén waves on the H-1NF stellarator
A new Mirnov array, datamining techniques, synchronous imaging and 3D tomography have provided mode numbers, radial mode structure and dispersion relation information for spontaneously excited modes on H-1.
Comparisons with theory have been extended and look promising - (BAE/BAAE) type modes?
What is driving these modes?
3D fields in tokamaks: Tailoring the plasma response using 3D fields (RMPs)
Applied field structure is a dominant determinant in the plasma response. Need flexible RMP coil sets to take advantage of this.
Max/min pitch-res/RFA responses are dependent on q95 and upper-lower array phasing – be careful if q95 is different!
n=2 ELM suppression windows on DIII-D are correlated with the strongest RFA, and medium pitch-res applied field structures.
It is possible to apply one type of field – good for experiments to find out what is going on.
Future work - include resistivity and rotation and further experimental comparisons.

## Slide 35: Backup Rot/Res n2

## Slide 36: Fourier decomposition into PEST coordinates provides a more straightforward identification of plasma response components
m=nq
dBN(r,z,t)
dBN(n,m)()

## Slide 37
Experimental comparison (n=3 L-mode LSN DIII-D #142614)
Good agreement, but drop in magnetic probe not reproduced
Shot is originally described in [Schmitz et al, Nuclear Fusion, 2014]
Good agreement with magnetic probe array data from 1600ms-1800ms
From 1830ms, central toroidal rotation decreases and edge rotation increases
n=3 magnetic probe output drops significantly in a short time – this is not captured in the MARS-F modelling
n=1 is as large as n=3 -> non-linear effects?
Need to include two fluid, non linear, or kinetic effects to capture what is occurring at 1830ms
MARS-F, expt comparison

## Slide 38: Current work : Effects of toroidal rotation on the plasma response
Decreasing
Toroidal
Rotation
Reduced
Screening
Increased
Displacement
Field penetrates further
Plas only
Plas + vac
Displacement

## Slide 39: Further investigation using parameter scans show a transition from ideal to a resistive-inertial type plasma response
Large toroidal rotation can offset the effects of plasma resistivity on plasma screening.
There are no ‘sudden’ magnetic probe drops like those seen in shot #142614.
Magnetic probe output depends mainly on plasma screening in L-mode.
(1/S)
Poloidal Probe output
Residual pitch-resonant field
(1/S)
G/kA
w/wa
w/wa
(1/S)
Ideal-like response
Resistive response

## Slide 40: The effect of applied field structure (upper-lower I-coil phasing) is large
90deg and 270deg n=3 are not accessible with the current I-coils.
270deg provides the strongest residual resonant field
Upgrade from 2x6 to 2x12?
(1/S)
(1/S)
w/wa
w/wa
Residual pitch-resonant field

## Slide 41: Backup HMA

## Slide 43: Polarisation of the cluster change considerably with frequency and kh
dB||
dBperp
dBperp
kh space
The “polarisation” as measured by the unshielded coil shows variation with frequency and kh, with the parallel component increasing with lower frequency

## Slide 44: Magnetic field strength dependence is stronger when the resonant surface is still in the plasma
Variation with field strength is suggestive of dependence on the low kH side (NGAE side) but less dependence on high kH side (GAE side)
kH
kH

## Slide 45: Datamining techniques1 provide insight into large databases of timeseries signals (i.e Mirnov arrays)
Datamining/clustering is about knowledge discovery in (large) high dimensional datasets
Each cluster is a ‘class’ of fluctuation with different spatial structure
Clustered using 15 dimensional
data from the HMA
40,000 interesting datapoints
No a-priori mode ‘structure’ required – good for stellarators where the mode structure is difficult to calculate (complex 3D fields and probe locations)
130 shot
parameter scan
1. [S. Haskey et al, Computer Physics Communications, 2014]

## Slide 46: Backup Synch

## Slide 47: Backup Tomo

## Slide 48: The 16 images are decomposed into a Fourier series in time in preparation for tomographic inversion
Several modes have been imaged using 514nm CII emissions from 3 views to provide the input data for the tomographic inversions
TOP
CENTER
BOTTOM
DC
|FUNDAMENTAL|
Arg(FUNDAMENTAL)
Notes: We can can convert the series of images into a fourier series with DC, 1st harmonic, 2nd harmonic etc…
1st harmonic is f0, and each pixel has an amplitude and phase (or real and imaginary part)
2nd harmonic would contain 2f0 etc…, based on mag signal don’t expect it to be very large
This is the data that is used in the tomographic reconstructions
The views are not hugely different, but unfortunately restricted by port window

## Slide 49: Overview of modelling and validation of RMPs using the single fluid linearised MHD code MARS-F
Parameter scans
-Applied structure
-Plasma pressure
-Safety factor profile
-Toroidal rotation
-Resistivity
RMP uses: ELM suppression, rotation, RWM control, etc…
Optimal use/design requires: accurate models, experiment model validation, ability to predict the regions of parameter space with the desired plasma response (i.e ELM suppression)
RMP coil design
Experiment design
Region of
validity
Experimental
Comparison
Plasma Response
Single fluid linearised MHD
MARS-F1
  1. [Liu et al., Phys. Plasmas 2000]

## Slide 50: Advances in measuring and analyzing Alfvén waves
Waves
Measurements
Analysis
Comparison
with theory
Synchronous Imaging
-Many LOS meas
-ne and Te (spectral meas)
Helical Mirnov Array
dB/dt, polarisation, growth rates, mode #s
3D Tomography
-Radial structure
-Mode numbers
Datamining
-Dispersion info
Improved
Understanding
Improved understanding of Alfven waves is important due to interactions with fast particles (i.e a particles). Advances in measurement and analysis techniques are critical to achieving this.
21 ch ne interferometer