Suggested shot plan for XP818 with lithium

S.A. Sabbagh 5/16/08 v1.0

Shot List:

1) Reproduce ELMing target, no new lithium deposition

2) Run with non-axisymmetric coils on in “most favorable” configuration

- (consider odd parity to use feedback)

- perhaps run afternoon/morning and switch RWM coil

patch panel

3) Bring in lithium at slow rate, monitoring to stay (hopefully well) below rate in Henry’s XP

4) Keep running shots until ELM mitigation is shown, then keep lithium rate constant, monitor recycling

5) Repeat condition for reproducibility

6) Turn non-axisymmetric field off. If ELMs return, we’ve shown that lithium was low enough to not mitigate

without the field.

7) Turn field on/off (gate on/off) at will to demonstrate reproducibility and necessary conditions for mitigation.