Detailed Procedure to Manage Control Files

# 22JUL98

P. Sichta

## Table of Contents

### Introduction

### References

### Aliases, Environmental Variables, and Permissions

### Overview

### Control File Configuration

### Control File Reload

### Archiving Control Files

### Control Files Guidelines

##### Figure 1 – Sample Control Configuration File

# 1.0 Introduction

This procedure provides a description of how to acquire,  reload, and archive Control files using EPICS.  A control file is a snapshot of EPICS setpoints.  These are acquired and the filename named by the operator on an interactive basis.  They are also automatically acquired and named on a per-shot basis.

Control files are made using the Save Set Archiver,  which is also the tool used for creating database parameter files.  See reference 4.

# 2.0 References

- NSTX-WBS6-AD,  Application Development Environment for CI&C.

- NSTX-WBS6-CA,  General Procedure to Create Applications for EPICS.

- User’s Guide for the Save Set Archiver,  Phillip Stanley,  LANL www EPICS site.

- NSTX-WBS6-AD-PARM,  Detailed Procedure to Manage Parameter Files.

# 3.0 Aliases,  Environmental Variables,  Paths, and Permissions

Aliases used :  none

Environmental Variables : None

Paths : /epics/system/epics/epicsExtensions/extensions/bin/solaris

Permissions : The control file layout is pre-configured by the EPICS developer for the subsystem engineer. Editing of this file requires that the user be in the unix group “staff”.

# 4.0 Overview

The Save Set Archiver (SS) will be used to create ASCII “reboot” files.  These will be renamed (using a TBD script or program) to eliminate the ‘:reboot’ portion of the file name and to include the shot number in the filename.  If the operator has interactively snapped the file,  then the file will be named using the operator-specified filename.

5.0 Control File Configuration

A configuration file will be made to include the information to be included in the control file.   During an NSTX clock cycle,  a to-be-specified EPICS record will be used to trigger the snapshot of all control files.

- Control File configuration files will be kept in the directory structure dedicated to each digraph,  or application identifier.  For example,  if the digraph for a system is xx,  then the configuration files for that system will be kept in /nstx/epicapps/xxApp/op/ctl   .

- The configuration file must have a suffix of ‘.ccf’.

- A text editor can be used to create or modify a configuration file.

- The Save Set Archiver will also create data files having a name like “xx.ccf:07-20-98-000000”.  These will not be used and will be skimmed regularly with a TBD method (likely a unix shell script).

6.0 Restoring Control Files

The control files will be interactively restored from a medm display.  It is up to the operator to understand the extent and impact of restoring the control file. Most likely,  the medm display will launch a unix script or activate a custom host program.

7.0 Archiving Control Files

The shot-based control files will be archived in MDS+. The filename format will be XX123456.CTL  .   The XX is the system’s digraph,  the 123456 is a six-digit NSTX shot number. Note that the files which are archived have been converted from the :reboot files by a to-be-determined process.

The interactively named control files will be skimmed after one year of non-use.

8.0 Control File Guidelines

The configuration files should be made in a standard manner.  The layout is shown below :

# filename, comments,  description,  revision information…

#

!reboot	100

‘Control File Shot-Cycle Snapshot PV’			monitor

‘Control File Operator Snapshot PV’			monitor

NSTX shot #

Wall Clock Time

Operator-specified Control Filename

Description field (.DESC) for PV #1

Value field (.VAL) for PV #1

Any other field (.xxx) for PV #1

Any other field (.xxx) for PV #1…

Description field (.DESC) for PV #2

Value field (.VAL) for PV #2

Any other field (.xxx) for PV #2

Any other field (.xxx) for PV #2…

.

.

.

Description field (.DESC) for PV #n

Value field (.VAL) for PV #n

Any other field (.xxx) for PV #n…

Figure 1  - Sample Control Conf. File

Example 1

# File vm_control.ccf

# File will save Clock System setpoints

#

# REVISION HISTORY

#    28JULY98  	REV A.  	File created

#

!reboot 					100

ck_snap_ctlfiles			monitor

ck_operatorsnap_file1		monitor

ck_shotnumberAO.DESC

ck_shotnumberAO

ck_walltimeSTROUT.DESC

ck_walltimeSTROUT

#

ck_ctlnameSTROUT.DESC

ck_ctlnameSTROUT

ck_409CLK_1_1.DESC

ck_409CLK_1_1

ck_409DELAY_1_1.DESC

ck_409DELAY_1_1

ck_409CLK_1_2.DESC

ck_409CLK_1_2

ck_409DELAY_1_2.DESC

ck_409DELAY_1_2

ck_409CLK_1_3.DESC

ck_409CLK_1_3

ck_409DELAY_1_3.DESC

ck_409DELAY_1_3

ck_409CLK_2_1.DESC

ck_409CLK_2_1

ck_409DELAY_2_1.DESC

ck_409DELAY_2_1

This file will keep one hundred reboot files (more than one will not be normally needed but these are provided as a buffer in case of archiving problems). The file will be updated whenever the ck_snap_parmfiles device toggles, OR, whenever the operator-initiated action occurs.