Shutdown of the NSTXPC06 Computer for NSTX RGA System

# ==============================================================

# Rev. 0	19Apr01	J.Dong

==============================================================

# 1.0 Introduction

This procedure provides a description of how to shutdown the Personal Computer named NSTXPC06.  This computer is located in the NSTX Control Room and is used for remote control of the NSTX Shot Mode RGA System.  The control program is Dycor2000 running on the Windows 2000 operating system.  Reference (a) describes system startup.

# 2.0 References

- Startup of the NSTXPC06 Computer, NSTX-WBS6-OP-017

# 3.0 Procedure

- Select the main Dycor2000 window by poking on the top Title Bar.

The icon looks similar to this :

- Close the program using the X in the upper-right corner of the Title Bar.

- Shutdown the computer by poking the mouse on the Start icon on the taskbar, then selecting Shut Down, use Drop Down Menu for Shutdown, then click OK.

- The computer will automatically power down.

- Make a notation in the Vacuum Operations Logbook, located near the computer.