Chassis Layout Description

Front Slots

| Slot | Module | Description | Strapping | DTB # |
| --- | --- | --- | --- | --- |
| 1 | ACQ196CPCI | 64 – Channel Transient Voltage Digitizer | JP10 = Fitted/Not Fitted | 1 |
|  |  |  |  | 2 |
| 2 |  |  | JP10 = Fitted/Not Fitted |  |
| 3 |  |  | JP10 = Fitted/Not Fitted |  |
| 4 |  |  | JP10 = Fitted/Not Fitted |  |
| Power Supply |  | 250 W Chassis Power Supply Unit |  |  |

Rear Slots

| Slot | Module | Description | Strapping | Page # |
| --- | --- | --- | --- | --- |
| 1 | RTM-T | RTM-T |  | 5 |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

| Connection Label | Description | Connection |
| --- | --- | --- |
| CONSOLE | Connector: Micro D, 9 - Pin, Male Standard RS-232 Format. |  |
| ETH 0 | Connector: RJ45 Standard for 1000 Base – T Ethernet. |  |
| FAST I/O | Connector: Micro D, 15 – Pin, Female Used for clock and triggers, compatible with standard VGA type connectors. |  |

Fast I/O (DIO6)

| Pin | Description | Normal Usage | Signal Description | Color | Interface Ref. Dwg. |
| --- | --- | --- | --- | --- | --- |
| 1 | DIO0 | CLK |  |  |  |
| 2 | 0V |  |  |  |  |
| 3 | DIO1 | CLK |  |  |  |
| 4 | 0V |  |  |  |  |
| 5 | DIO2 | CLK |  |  |  |
| 6 | 0V |  |  |  |  |
| 7 | DIO3 | TRG |  |  |  |
| 8 | 0V |  |  |  |  |
| 9 | DIO4 | TRG |  |  |  |
| 10 | 0V |  |  |  |  |
| 11 | DIO5 | TRG |  |  |  |
| 12 | 0V |  |  |  |  |
| 13 | DIO6 | ACQ132CPCI GPG Output |  |  |  |
| 14 | 0V |  |  |  |  |
| 15 | DIO7 | ACQ132CPCI GPG Output |  |  |  |

AE6022 Termination Board Settings

DTB – 1

| Connection | Description |
| --- | --- |
| Connector J1 to board ground plane (JP1) | Not Fitted |
| Grounding Stud | Connected to rack rail (ground) |
| Bypass Capacitor Terminal (BC) | Not Connected |
| Ground Plane Terminal (GND) | Not Connected |

DTB – 2

| Connection | Description |
| --- | --- |
| Connector J1 to board ground plane (JP1) | Not Fitted |
| Grounding Stud | Connected to rack rail (ground) |
| Bypass Capacitor Terminal (BC) | Not Connected |
| Ground Plane Terminal (GND) | Not Connected |

| Signal Name | Interface Ref. Dwg. | Polarity | Terminal | CH # |
| --- | --- | --- | --- | --- |
|  |  | + Ref | CNTR SHELL | TRIG |
|  |  | + REF | CNTR SHELL | CLOCK |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AE6022 CH # |
| --- | --- | --- | --- | --- | --- |
| Sub Unit 1 Output Current 1 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 1 |
| Sub Unit 1 Output Current 2 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 2 |
| Sub Unit 2 Output Current 1 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 3 |
| Sub Unit 2 Output Current 2 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 4 |
| Sub Unit 3 Output Current 1 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 5 |
| Sub Unit 3 Output Current 1 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 6 |
| SPA 1 Total Chrg. Crnt. |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 7 |
| Sub Unit 1 Output Voltage |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 8 |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AE6022 CH # |
| --- | --- | --- | --- | --- | --- |
| Sub Unit 2 Output Voltage |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 9 |
| Sub Unit 3 Output Voltage |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 10 |
| SPA 1 VDC |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 11 |
| ACP/SPA 1 Fault Status |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 12 |
| Sub Unit 23 Chrg. Crnt. |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 13 |
| Sub Unit 3 Chrg. Crnt. |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 14 |
| Sub Unit 1 Fault Collector Sub Unit 1 Fault Emitter |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 15 |
| Sub Unit 2 Fault Collector Sub Unit 2 Fault Emitter |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 16 |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AR6022 CH # |
| --- | --- | --- | --- | --- | --- |
| Sub Unit 3 Fault Collector Sub Unit 3 Fault Emitter |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 17 |
| SubUnit1Permissive (Enable) |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 18 |
| SubUnit2Permissive (Enable) |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 19 |
| SubUnit3Permissive (Enable) |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 20 |
| Sub Unit 1 Reference |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 21 |
| Sub Unit 2 Reference |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 22 |
| Sub Unit 3 Reference |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 23 |
| Sub Unit 4 Output Current 1 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 24 |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AE6022 CH # |
| --- | --- | --- | --- | --- | --- |
| Sub Unit 4 Output Current 2 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 25 |
| Sub Unit 5 Output Current 1 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 26 |
| Sub Unit 5 Output Current 2 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 27 |
| Sub Unit 6 Output Current 1 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 28 |
| Sub Unit 6 Output Current 2 |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 29 |
| SPA 2 Total Chrg. Crnt. |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 30 |
| Sub Unit 4 Output Voltage |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 31 |
| Sub Unit 5 Output Voltage |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 32 |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AE6022 CH # |
| --- | --- | --- | --- | --- | --- |
| Sub Unit 6 Output Voltage |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 33 |
| SPA 2 VDC |  | RED BLK SHLD | + - SHLD | UPR MID LWR | 34 |
| CAMAC Triangle Wave | A-AE1083 | RED BLK SHLD | + - SHLD | UPR MID LWR | 35 |
|  |  |  | + - SHLD | UPR MID LWR | 36 |
|  |  |  | + - SHLD | UPR MID LWR | 37 |
|  |  |  | + - SHLD | UPR MID LWR | 38 |
|  |  |  | + - SHLD | UPR MID LWR | 39 |
|  |  |  | + - SHLD | UPR MID LWR | 40 |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AE6022 CH # |
| --- | --- | --- | --- | --- | --- |
|  |  |  | + - SHLD | UPR MID LWR | 41 |
|  |  |  | + - SHLD | UPR MID LWR | 42 |
|  |  |  | + - SHLD | UPR MID LWR | 43 |
|  |  |  | + - SHLD | UPR MID LWR | 44 |
|  |  |  | + - SHLD | UPR MID LWR | 45 |
|  |  |  | + - SHLD | UPR MID LWR | 46 |
|  |  |  | + - SHLD | UPR MID LWR | 47 |
|  |  |  | + - SHLD | UPR MID LWR | 48 |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AE6022 CH # |
| --- | --- | --- | --- | --- | --- |
|  |  |  | + - SHLD | UPR MID LWR | 49 |
|  |  |  | + - SHLD | UPR MID LWR | 50 |
|  |  |  | + - SHLD | UPR MID LWR | 51 |
|  |  |  | + - SHLD | UPR MID LWR | 52 |
|  |  |  | + - SHLD | UPR MID LWR | 53 |
|  |  |  | + - SHLD | UPR MID LWR | 54 |
|  |  |  | + - SHLD | UPR MID LWR | 55 |
|  |  |  | + - SHLD | UPR MID LWR | 56 |

| Signal Name | Interface Ref. Dwg. | Color | Polarity | AE6022 Terminal | AE6022 CH # |
| --- | --- | --- | --- | --- | --- |
|  |  |  | + - SHLD | UPR MID LWR | 57 |
|  |  |  | + - SHLD | UPR MID LWR | 58 |
|  |  |  | + - SHLD | UPR MID LWR | 59 |
|  |  |  | + - SHLD | UPR MID LWR | 60 |
|  |  |  | + - SHLD | UPR MID LWR | 61 |
|  |  |  | + - SHLD | UPR MID LWR | 62 |
|  |  |  | + - SHLD | UPR MID LWR | 63 |
|  |  |  | + - SHLD | UPR MID LWR | 64 |

# Text boxes

DATE:

ENG’R:

DR.

CH.

APPROVED

DEPT:

SDD

S.D.DeLuca

23MAR2011

PRINCETON PLASMA PHYSICS LABORATORY

NATIONAL SPHERICAL TORUS EXPERIMENT

A-AE1082

SHT 1 OF 15

Wire List for D-TACQ Data Acquisition System, System: Power Conversion, Rack: CCC-EE-213

CAD DRAWING

NO MANUAL CHANGES

ALLOWED

MSWORD_12.0 FILE

0AAE1082.DOC

NOTES:

- Reference drawing B-AE6022 Sht.1 for Termination Board information.

CH.

REV.

BY

DATE

DESCRIPTION

APPROVED

Channel 33 - 64

Channel 65 - 96

Channel 1 - 32

Fan Unit

Power Supply

Slot 1

Slot 3

Slot 4

Slot 2

100-240V

50/60 Hz

Slot 1

Slot 2

Slot 3

Slot 4

Fan Locking

Mechanism

D-TACQ

Chassis Layout

Front

Rear

Fan Unit

AC Power Connection

Chassis Grounding Stud

Digitizer Module Front Panel Layout

(96 – Channel Version)

Optional

RTM-T Module Front Panel Layout

1

34

35

68

1

34

35

68

Trigger

Clock

ETH 0

CONSOLE

FAST I/O

ITD

68

35

34

1

68 – Pin SCSI Connector

LEMO

EPL.00.250.NTN