| CRATE LAYOUT DESCRIPTION |  |
| --- | --- |

| SLOT | CROSS-CX | MODULE DESCRIPTION & STRAPPING |
| --- | --- | --- |
| NSTX 1 | A01 - A16 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 2 | A17 - A32 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 3 | A33 - A48 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 4 | A49 - A64 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| 5 | A65 - A80 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| 6 | B01 - B16 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 7 | B17 - B32 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 8 | B33 - B48 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 9 | B49 - B64 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 10 | ---- | 336 PC LINK REPEATER MODULE |
| NSTX 11 | D01 - D16 | 337 POWER SUPPLY CONTROLLER |
| NSTX 12 | D17 - D32 | 337 POWER SUPPLY CONTROLLER |
| NSTX 13 | D33 - D48 | 337 POWER SUPPLY CONTROLLER |
| NSTX 14 | D49 - D64 | 16-BIT DIGITAL OUTPUT MODULE - 302 RELAY OUTPUTS, MOMENTARY, NORM OPEN |
| NSTX 15 | C49 - C64 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| NSTX 16 | C01 - C16 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| 17 | C17 - C32 | 16-BIT DIGITAL OUTPUT MODULE - 302 RELAY OUTPUTS, MOMENTARY, NORM OPEN |
| 18 | C33 - C48 | 322 16-BIT DIGITAL INPUT MODULE - ISOLATED CONTACT |
| 19 | ---- | --- |
| 20 | ---- | --- |
| NSTX 21 | (T1) | 404A 8 CHANNEL TIMING MODULE [E-STOP OFF] |
| 22 | ---- | 404A (slot 2 of 2) |
| 23 | ---- | 313 U-PORT ADAPTER (& FACILITY CLOCK) |
| 24/25 | ---- | 3952 L-2 CRATE CONTROLLER |

| SLOT NO.: 01 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FEEDER BREAKER CONTROLS : 1 = LOCAL BREAKER TRIP CMD | EOH1+EOH2-TRN | B-4F1005 SH. 726 | A1 | F B | BRN TAN | 1B 1A | 1 |
| 1 = LOCAL BRKR CLOSE COMMAND | EOH1+EOH2-TRN | B-4F1005 SH. 726 | A2 | F B | RED TAN | 2B 2A | 2 |
| 1 = LOCAL CONTROL MODE | EOH1+EOH2-TRN | B-4F1005 SH. 726 | A3 | F B | ORN TAN | 3B 3A | 3 |
| 1 = CICADA CONTROL MODE | EOH1+EOH2-TRN | B-4F1005 SH. 726 | A4 | F B | YLW TAN | 4B 4A | 4 |
| 0 = PRIMARY RELAY TRIP | EOH1+EOH2-TRN | B-4F1005 SH. 726 | A5 | F B | GRN TAN | 5B 5A | 5 |
| 1 = SECONDARY RELAY TRIP | EOH1+EOH2-TRN | B-4F1005 SH. 726 | A6 | F B | BLU TAN | 6B 6A | 6 |
|  |  |  | A7 | F B | VIO TAN | 7B 7A | 7 |
|  |  |  | A8 | F B | GRY TAN | 8B 8A | 8 |
| OH1-1 POWER DIODE : 0 = WATER FLOW LOW | EOH1-DIO-1 | B-4F1005 SH. 628 | A9 | F B | BRN TAN | 9B 9A | 9 |
| 1 = DOORS CLOSED | EOH1-DIO-1 | B-4F1005 SH. 628 | A10 | F B | RED TAN | 10B 10A | 10 |
| OH1-2 POWER DIODE : 0 = WATER FLOW LOW | EOH1-DIO-2 | B-4F1005 SH. 628 | A11 | F B | ORN TAN | 11B 11A | 11 |
| 1 = DOORS CLOSED | EOH1-DIO-2 | B-4F1005 SH. 628 | A12 | F B | YLW TAN | 12B 12A | 12 |
| OH2-1 POWER DIODE : 0 = WATER FLOW LOW | EOH2-DIO-1 | B-4F1005 SH. 628 | A13 | F B | GRN TAN | 13B 13A | 13 |
| 1 = DOORS CLOSED | EOH2-DIO-1 | B-4F1005 SH. 628 | A14 | F B | BLU TAN | 14B 14A | 14 |
| OH2-2 POWER DIODE : 0 = WATER FLOW LOW | EOH2-DIO-2 | B-4F1005 SH. 628 | A15 | F B | VIO TAN | 15B 15A | 15 |
| 1 = DOORS CLOSED | EOH2-DIO-2 | B-4F1005 SH. 628 | A16 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 02 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH1-1 CONVERTER TRANSFORMER: 0 = LIQUID LEVEL LOW | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A17 | F B | BRN TAN | 1B 1A | 1 |
| 0 = LIQUID TEMP HI | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A18 | F B | RED TAN | 2B 2A | 2 |
| 0 = WINDING TEMP HI | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A19 | F B | ORN TAN | 3B 3A | 3 |
| 0 = TANK PRESSURE HI | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A20 | F B | YLW TAN | 4B 4A | 4 |
| 0 = PRIMARY DISCONNECT SWITCH CLOSED | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A21 | F B | GRN TAN | 5B 5A | 5 |
| 0 = THERMAL RELAY TRIP IMMINENT | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A22 | F B | BLU TAN | 6B 6A | 6 |
| 1 = X WINDING OVERCURRENT TRIP | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A23 | F B | VIO TAN | 7B 7A | 7 |
| 1 = Y WINDING OVERCURRENT TRIP | EOH1-TRN-1 | B-4F1005 SH. 607.725 | A24 | F B | GRY TAN | 8B 8A | 8 |
| OH1-2 CONVERTER TRANSFORMER: 0 = LIQUID LEVEL LOW | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A25 | F B | BRN TAN | 9B 9A | 9 |
| 0 = LIQUID TEMP HI | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A26 | F B | RED TAN | 10B 10A | 10 |
| 0 = WINDING TEMP HI | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A27 | F B | ORN TAN | 11B 11A | 11 |
| 0 = TANK PRESSURE HI | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A28 | F B | YLW TAN | 12B 12A | 12 |
| 0 = PRIMARY DISCONNECT SWITCH CLOSED | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A29 | F B | GRN TAN | 13B 13A | 13 |
| 0 = THERMAL RELAY TRIP IMMINENT | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A30 | F B | BLU TAN | 14B 14A | 14 |
| 1 = X WINDING OVERCURRENT TRIP | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A31 | F B | VIO TAN | 15B 15A | 15 |
| 1 = Y WINDING OVERCURRENT TRIP | EOH1-TRN-2 | B-4F1005 SH. 607.725 | A32 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 03 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH2-1 CONVERTER TRANSFORMER: 0 = LIQUID LEVEL LOW | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A33 | F B | BRN TAN | 1B 1A | 1 |
| 0 = LIQUID TEMP HI | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A34 | F B | RED TAN | 2B 2A | 2 |
| 0 = WINDING TEMP HI | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A35 | F B | ORN TAN | 3B 3A | 3 |
| 0 = TANK PRESSURE HI | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A36 | F B | YLW TAN | 4B 4A | 4 |
| 0 = PRIMARY DISCONNECT SWITCH CLOSED | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A37 | F B | GRN TAN | 5B 5A | 5 |
| 0 = THERMAL RELAY TRIP IMMINENT | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A38 | F B | BLU TAN | 6B 6A | 6 |
| 1 = X WINDING OVERCURRENT TRIP | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A39 | F B | VIO TAN | 7B 7A | 7 |
| 1 = Y WINDING OVERCURRENT TRIP | EOH2-TRN-1 | B-4F1005 SH. 607.725 | A40 | F B | GRY TAN | 8B 8A | 8 |
| OH1 HARDWRE CNTL SYSTEM : 1 = LVL 4X FAULT ALL CB TRIP | EOH1-CBD-OH1-D1 | B-4F1005 SH. 776 | A41 | F B | BRN TAN | 9B 9A | 9 |
| 0 = LVL 1 FALT, ALL BKR TRIP | EOH1-CBD-OH1-D1 | B-4F1005 SH. 776 | A42 | F B | RED TAN | 10B 10A | 10 |
| 0 = LVL 3 FALT, ALL BKR TRIP | EOH1-CBD-OH1-D1 | B-4F1005 SH. 776 | A43 | F B | ORN TAN | 11B 11A | 11 |
| 1 = LVL 4 FALT, ALL BKR TRIP | EOH1-CBD-OH1-D1 | B-4F1005 SH. 776 | A44 | F B | YLW TAN | 12B 12A | 12 |
| 0 = POWER SUPPLY PERM NOT READY | EOH1-CBD-OH1-D1 | B-4F1005 SH. 776 | A45 | F B | GRN TAN | 13B 13A | 13 |
| 0 = SDS PERM NOT READY | EOH1-CBD-OH1-D1 | B-4F1005 SH. 776 | A46 | F B | BLU TAN | 14B 14A | 14 |
| 1 = AUX SYS FAULT (WATER FLOW/TEMP) | EOH1-CBD-OH1-D1 | B-4F1005 SH. 776 | A47 | F B | VIO TAN | 15B 15A | 15 |
| OH1 FEEDER BREAKER : 1 = CONTROL POWER ON | EOH1-CBD-OH1 | B-4F1005 SH. 732 | A48 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 04 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 = "A" DISCONNECT IN BYPASS POSITION, OH1-1 | EOH1-PSS-1C-D1 | B-4F1005 SH. 620,621 | A49 | F B | BRN TAN | 1B 1A | 1 |
| 1 = "A" DISCONNECT IN LINE POSITION | EOH1-PSS-1C-D1 | B-4F1005 SH. 620,621 | A50 | F B | RED TAN | 2B 2A | 2 |
| 1 = "B" DISCONNECT IN BYPASS POSITION | EOH1-PSS-1C-D1 | B-4F1005 SH. 620,621 | A51 | F B | ORN TAN | 3B 3A | 3 |
| 1 = "B" DISCONNECT IN LINE POSITION | EOH1-PSS-1C-D1 | B-4F1005 SH. 620,621 | A52 | F B | YLW TAN | 4B 4A | 4 |
| 1 = DOORS CLOSED | EOH1-PSS-1C-D1 | B-4F1005 SH. 620,621 | A53 | F B | GRN TAN | 5B 5A | 5 |
| 1 = "A" DISCONNECT IN BYPASS POSITION, OH1-2 | EOH1-PSS-2C-D1 | B-4F1005 SH. 622,623 | A54 | F B | BLU TAN | 6B 6A | 6 |
| 1 = "A" DISCONNECT IN LINE POSITION | EOH1-PSS-2C-D1 | B-4F1005 SH. 622,623 | A55 | F B | VIO TAN | 7B 7A | 7 |
| 1 = "B" DISCONNECT IN BYPASS POSITION | EOH1-PSS-2C-D1 | B-4F1005 SH. 622,623 | A56 | F B | GRY TAN | 8B 8A | 8 |
| 1 = "B" DISCONNECT IN LINE POSITION | EOH1-PSS-2C-D1 | B-4F1005 SH. 622,623 | A57 | F B | BRN TAN | 9B 9A | 9 |
| 1 = DOORS CLOSED | EOH1-PSS-2C-D1 | B-4F1005 SH. 622,623 | A58 | F B | RED TAN | 10B 10A | 10 |
| 1 = "A" DISCONNECT IN BYPASS POSITION, OH2-1 | EOH2-PSS-1C-D1 | B-4F1005 SH. 624,625 | A59 | F B | ORN TAN | 11B 11A | 11 |
| 1 = "A" DISCONNECT IN LINE POSITION | EOH2-PSS-1C-D1 | B-4F1005 SH. 624,625 | A60 | F B | YLW TAN | 12B 12A | 12 |
| 1 = "B" DISCONNECT IN BYPASS POSITION | EOH2-PSS-1C-D1 | B-4F1005 SH. 624,625 | A61 | F B | GRN TAN | 13B 13A | 13 |
| 1 = "B" DISCONNECT IN LINE POSITION | EOH2-PSS-1C-D1 | B-4F1005 SH. 624,625 | A62 | F B | BLU TAN | 14B 14A | 14 |
| 1 = DOORS CLOSED | EOH2-PSS-1C-D1 | B-4F1005 SH. 624,625 | A63 | F B | VIO TAN | 15B 15A | 15 |
|  |  |  | A64 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 05 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH1 INTERUPTER CTL OUT : 1 = AUX POWER NOT READY | EOH1-INT-D1 | B-4F1005 SH. 629 | A65 | F B | BRN TAN | 1B 1A | 1 |
| 1 = COMMUTATION CAP NOT CHARGED | EOH1-INT-D1 | B-4F1005 SH. 629 | A66 | F B | RED TAN | 2B 2A | 2 |
| 1 = WATER FLOW LOW | EOH1-INT-D1 | B-4F1005 SH. 629 | A67 | F B | ORN TAN | 3B 3A | 3 |
| 1 = WATER TEMP HIGH | EOH1-INT-D1 | B-4F1005 SH. 629 | A68 | F B | YLW TAN | 4B 4A | 4 |
| D1 : FAULT CONDITION. D2 : 1 = CAP BNK SHORTD BY S1 | EOH1-INT-D1 & EOH1-INT-D2 | B-4F1005 SH. 629 | A69 | F B | GRN TAN | 5B 5A | 5 |
| D1 : FAULT CONDITION. D2 : 1 = OVERVOLTAGE RES : OH1 RYD FAULT | EOH1-INT-D1 & EOH1-INT-D2 & EOH1-RES-1-F | B-4F1005 SH. 629 | A70 | F B | BLU TAN | 6B 6A | 6 |
| D2 : 1 = OVERCURRENT RES : OH1 RYD FAULT | EOH1-INT-D2 & EOH1-RES-1-F | B-4F1005 SH. 629 | A71 | F B | VIO TAN | 7B 7A | 7 |
| 1 = INTERLOCKS OK | EOH1-INT-D2 | B-4F1005 SH. 629 | A72 | F B | GRY TAN | 8B 8A | 8 |
| 1 = DISCONNECT SWITCH OPEN | EOH1-INT-D2 | B-4F1005 SH. 629 | A73 | F B | BRN TAN | 9B 9A | 9 |
| 1 = DISCONNECT SWITCH CLOSED | EOH1-INT-D2 | B-4F1005 SH. 629 | A74 | F B | RED TAN | 10B 10A | 10 |
|  |  |  | A75 | F B | ORN TAN | 11B 11A | 11 |
|  |  |  | A76 | F B | YLW TAN | 12B 12A | 12 |
|  |  |  | A77 | F B | GRN TAN | 13B 13A | 13 |
|  |  |  | A78 | F B | BLU TAN | 14B 14A | 14 |
|  |  |  | A79 | F B | VIO TAN | 15B 15A | 15 |
| OH1 RESITOR BANK GRND SWITCH : 1 = GROUND SWITCH CLOSED | EOH1-RES | B-4F1005 SH. 616 | A80 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 06 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH1 INTERUPTER CTL OUT : 1 = AUX POWER NOT READY | EOH2-INT-D1 | B-4F1005 SH. 630 | B1 | F B | BRN TAN | 1B 1A | 1 |
| 1 = COMMUTATION CAP NOT CHARGED | EOH2-INT-D1 | B-4F1005 SH. 630 | B2 | F B | RED TAN | 2B 2A | 2 |
| 1 = WATER FLOW LOW | EOH2-INT-D1 | B-4F1005 SH. 630 | B3 | F B | ORN TAN | 3B 3A | 3 |
| 1 = WATER TEMP HIGH | EOH2-INT-D1 | B-4F1005 SH. 630 | B4 | F B | YLW TAN | 4B 4A | 4 |
| D1 : FAULT CONDITION. D2 : 1 = CAP BNK SHORTD BY S1 | EOH2-INT-D1 & EOH2-INT-D2 | B-4F1005 SH. 630 | B5 | F B | GRN TAN | 5B 5A | 5 |
| D1 : FAULT CONDITION. D2 : 1 = OVERVOLTAGE RES : OH1 RYD FAULT | EOH2-INT-D1 & EOH2-INT-D2 & EOH2-RES-1-F | B-4F1005 SH. 630 | B6 | F B | BLU TAN | 6B 6A | 6 |
| D2 : 1 = OVERCURRENT RES : OH1 RYD FAULT | EOH2-INT-D2 & EOH2-RES-1-F | B-4F1005 SH. 630 | B7 | F B | VIO TAN | 7B 7A | 7 |
| 1 = INTERLOCKS OK | EOH2-INT-D2 | B-4F1005 SH. 630 | B8 | F B | GRY TAN | 8B 8A | 8 |
| 1 = DISCONNECT SWITCH OPEN | EOH2-INT-D2 | B-4F1005 SH. 630 | B9 | F B | BRN TAN | 9B 9A | 9 |
| 1 = DISCONNECT SWITCH CLOSED | EOH2-INT-D2 | B-4F1005 SH. 630 | B10 | F B | RED TAN | 10B 10A | 10 |
|  |  |  | B11 | F B | ORN TAN | 11B 11A | 11 |
|  |  |  | B12 | F B | YLW TAN | 12B 12A | 12 |
|  |  |  | B13 | F B | GRN TAN | 13B 13A | 13 |
|  |  |  | B14 | F B | BLU TAN | 14B 14A | 14 |
|  |  |  | B15 | F B | VIO TAN | 15B 15A | 15 |
| OH2 RESITOR BANK GRND SWITCH : 1 = GROUND SWITCH CLOSED | EOH2-RES | B-4F1005 SH. 617 | B16 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 07 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH1-1 : FAULT DETECTOR BIT 0 | EOH1-PSS-1C-D2 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B17 | F B | BRN TAN | 1B 1A | 1 |
| FAULT DETECTOR BIT 1 | EOH1-PSS-1C-D2 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B18 | F B | RED TAN | 2B 2A | 2 |
| FAULT DETECTOR BIT 2 | EOH1-PSS-1C-D2 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B19 | F B | ORN TAN | 3B 3A | 3 |
| FAULT DETECTOR BIT 3 | EOH1-PSS-1C-D2 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B20 | F B | YLW TAN | 4B 4A | 4 |
| FAULT DETECTOR BIT 4 | EOH1-PSS-1C-D3 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B21 | F B | GRN TAN | 5B 5A | 5 |
| FAULT DETECTOR BIT 5 | EOH1-PSS-1C-D3 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B22 | F B | BLU TAN | 6B 6A | 6 |
| FAULT DETECTOR BIT 6 | EOH1-PSS-1C-D3 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B23 | F B | VIO TAN | 7B 7A | 7 |
| FAULT DETECTOR BIT 7 | EOH1-PSS-1C-D3 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B24 | F B | GRY TAN | 8B 8A | 8 |
| FAULT DETECTOR BIT 8 | EOH1-PSS-1C-D4 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B25 | F B | BRN TAN | 9B 9A | 9 |
| FAULT DETECTOR BIT 9 | EOH1-PSS-1C-D4 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B26 | F B | RED TAN | 10B 10A | 10 |
| FAULT DETECTOR BIT 10 | EOH1-PSS-1C-D4 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B27 | F B | ORN TAN | 11B 11A | 11 |
| FAULT DETECTOR BIT 11 | EOH1-PSS-1C-D4 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B28 | F B | YLW TAN | 12B 12A | 12 |
| FAULT DETECTOR BIT 12 | EOH1-PSS-1C-D5 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B29 | F B | GRN TAN | 13B 13A | 13 |
| FAULT DETECTOR BIT 13 | EOH1-PSS-1C-D5 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B30 | F B | BLU TAN | 14B 14A | 14 |
| FAULT DETECTOR BIT 14 | EOH1-PSS-1C-D5 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B31 | F B | VIO TAN | 15B 15A | 15 |
| FAULT DETECTOR BIT 15 | EOH1-PSS-1C-D5 & EOH1-PSS-1C-D6 | B-4F1005 SH. 620,621 | B32 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 08 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH1-2 : FAULT DETECTOR BIT 0 | EOH1-PSS-2C-D2 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B33 | F B | BRN TAN | 1B 1A | 1 |
| FAULT DETECTOR BIT 1 | EOH1-PSS-2C-D2 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B34 | F B | RED TAN | 2B 2A | 2 |
| FAULT DETECTOR BIT 2 | EOH1-PSS-2C-D2 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B35 | F B | ORN TAN | 3B 3A | 3 |
| FAULT DETECTOR BIT 3 | EOH1-PSS-2C-D2 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B36 | F B | YLW TAN | 4B 4A | 4 |
| FAULT DETECTOR BIT 4 | EOH1-PSS-2C-D3 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B37 | F B | GRN TAN | 5B 5A | 5 |
| FAULT DETECTOR BIT 5 | EOH1-PSS-2C-D3 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B38 | F B | BLU TAN | 6B 6A | 6 |
| FAULT DETECTOR BIT 6 | EOH1-PSS-2C-D3 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B39 | F B | VIO TAN | 7B 7A | 7 |
| FAULT DETECTOR BIT 7 | EOH1-PSS-2C-D3 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B40 | F B | GRY TAN | 8B 8A | 8 |
| FAULT DETECTOR BIT 8 | EOH1-PSS-2C-D4 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B41 | F B | BRN TAN | 9B 9A | 9 |
| FAULT DETECTOR BIT 9 | EOH1-PSS-2C-D4 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B42 | F B | RED TAN | 10B 10A | 10 |
| FAULT DETECTOR BIT 10 | EOH1-PSS-2C-D4 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B43 | F B | ORN TAN | 11B 11A | 11 |
| FAULT DETECTOR BIT 11 | EOH1-PSS-2C-D4 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B44 | F B | YLW TAN | 12B 12A | 12 |
| FAULT DETECTOR BIT 12 | EOH1-PSS-2C-D5 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B45 | F B | GRN TAN | 13B 13A | 13 |
| FAULT DETECTOR BIT 13 | EOH1-PSS-2C-D5 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B46 | F B | BLU TAN | 14B 14A | 14 |
| FAULT DETECTOR BIT 14 | EOH1-PSS-2C-D5 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B47 | F B | VIO TAN | 15B 15A | 15 |
| FAULT DETECTOR BIT 15 | EOH1-PSS-2C-D5 & EOH1-PSS-2C-D6 | B-4F1005 SH. 622,623 | B48 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 09 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH2-1 : FAULT DETECTOR BIT 0 | EOH2-PSS-1C-D2 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B49 | F B | BRN TAN | 1B 1A | 1 |
| FAULT DETECTOR BIT 1 | EOH2-PSS-1C-D2 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B50 | F B | RED TAN | 2B 2A | 2 |
| FAULT DETECTOR BIT 2 | EOH2-PSS-1C-D2 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B51 | F B | ORN TAN | 3B 3A | 3 |
| FAULT DETECTOR BIT 3 | EOH2-PSS-1C-D2 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B52 | F B | YLW TAN | 4B 4A | 4 |
| FAULT DETECTOR BIT 4 | EOH2-PSS-1C-D3 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B53 | F B | GRN TAN | 5B 5A | 5 |
| FAULT DETECTOR BIT 5 | EOH2-PSS-1C-D3 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B54 | F B | BLU TAN | 6B 6A | 6 |
| FAULT DETECTOR BIT 6 | EOH2-PSS-1C-D3 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B55 | F B | VIO TAN | 7B 7A | 7 |
| FAULT DETECTOR BIT 7 | EOH2-PSS-1C-D3 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B56 | F B | GRY TAN | 8B 8A | 8 |
| FAULT DETECTOR BIT 8 | EOH2-PSS-1C-D4 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B57 | F B | BRN TAN | 9B 9A | 9 |
| FAULT DETECTOR BIT 9 | EOH2-PSS-1C-D4 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B58 | F B | RED TAN | 10B 10A | 10 |
| FAULT DETECTOR BIT 10 | EOH2-PSS-1C-D4 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B59 | F B | ORN TAN | 11B 11A | 11 |
| FAULT DETECTOR BIT 11 | EOH2-PSS-1C-D4 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B60 | F B | YLW TAN | 12B 12A | 12 |
| FAULT DETECTOR BIT 12 | EOH2-PSS-1C-D5 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B61 | F B | GRN TAN | 13B 13A | 13 |
| FAULT DETECTOR BIT 13 | EOH2-PSS-1C-D5 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B62 | F B | BLU TAN | 14B 14A | 14 |
| FAULT DETECTOR BIT 14 | EOH2-PSS-1C-D5 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B63 | F B | VIO TAN | 15B 15A | 15 |
| FAULT DETECTOR BIT 15 | EOH2-PSS-1C-D5 & EOH2-PSS-1C-D6 | B-4F1005 SH. 624,625 | B64 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 10 | MODULE TYPE 336 PC_LINK REPEATER |
| --- | --- |

| DESCRIPTION | CONMMENT | CONT'D DWG |
| --- | --- | --- |
| CONTROL FOR POWER SUPPLY : __OH__________________________________ |
| HOUSE ADDRESS (HA) = _11_ |  | N/A |
| SUBAGGREGATE HOUSE ADDRESS = _3B_ |  | N/A |
| PC LINK INPUT |  |  |
| PC LINK OUTPUT |  |  |
| I/O TO POWER SUPPLY CONTROLLER |  |  |

| SLOT NO.: 11 | MODULE TYPE 337 POWER SUPPLY CONTROLLER |
| --- | --- |

| DESCRIPTION | CONMMENT | CONT'D DWG |
| --- | --- | --- |
| CONTROL FOR POWER SUPPLY : __OH1-1__________________________________ |
| POWER SUPPLY ADDRESS (PSA) = _1 |  | N/A |
| LINK I/O (UPPER CONNECTOR) |  |  |
| LINK I/O (LOWER CONNECTOR) |  |  |
| SIGNAL NAME | CONT. DWG | CROSS |  | CLR | PIN# | BIT |
| FIRING ANGLE 20 - LSB |  | D1 | F B | BRN TAN | 1B 1A | 1 |
| FIRING ANGLE 21 |  | D2 | F B | RED TAN | 2B 2A | 2 |
| FIRING ANGLE 22 |  | D3 | F B | ORN TAN | 3B 3A | 3 |
| FIRING ANGLE 23 |  | D4 | F B | YLW TAN | 4B 4A | 4 |
| FIRING ANGLE 24 |  | D5 | F B | GRN TAN | 5B 5A | 5 |
| FIRING ANGLE 25 |  | D6 | F B | BLU TAN | 6B 6A | 6 |
| FIRING ANGLE 26 |  | D7 | F B | VIO TAN | 7B 7A | 7 |
| FIRING ANGLE 27 - MSB |  | D8 | F B | GRY TAN | 8B 8A | 8 |
| "CONVERT" MODE |  | D9 | F B | BRN TAN | 9B 9A | 9 |
| "CYCLIC BYPASS" MODE |  | D10 | F B | RED TAN | 10B 10A | 10 |
| "BLOCK BYPASS" MODE |  | D11 | F B | ORN TAN | 11B 11A | 11 |
| SPARE - BIT 12 |  | D12 | F B | YLW TAN | 12B 12A | 12 |
| SPARE - BIT 13 |  | D13 | F B | GRN TAN | 13B 13A | 13 |
| SPARE - BIT 14 |  | D14 | F B | BLU TAN | 14B 14A | 14 |
| SPARE |  | D15 | F B | VIO TAN | 15B 15A | 15 |
| READY |  | D16 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 12 | MODULE TYPE 337 POWER SUPPLY CONTROLLER |
| --- | --- |

| DESCRIPTION | CONMMENT | CONT'D DWG |
| --- | --- | --- |
| CONTROL FOR POWER SUPPLY : __OH1-2__________________________________ |
| POWER SUPPLY ADDRESS (PSA) = _2__ |  | N/A |
| LINK I/O (UPPER CONNECTOR) |  |  |
| LINK I/O (LOWER CONNECTOR) |  |  |
| SIGNAL NAME | CONT. DWG | CROSS |  | CLR | PIN# | BIT |
| FIRING ANGLE 20 - LSB |  | D17 | F B | BRN TAN | 1B 1A | 1 |
| FIRING ANGLE 21 |  | D18 | F B | RED TAN | 2B 2A | 2 |
| FIRING ANGLE 22 |  | D19 | F B | ORN TAN | 3B 3A | 3 |
| FIRING ANGLE 23 |  | D20 | F B | YLW TAN | 4B 4A | 4 |
| FIRING ANGLE 24 |  | D21 | F B | GRN TAN | 5B 5A | 5 |
| FIRING ANGLE 25 |  | D22 | F B | BLU TAN | 6B 6A | 6 |
| FIRING ANGLE 26 |  | D23 | F B | VIO TAN | 7B 7A | 7 |
| FIRING ANGLE 27 - MSB |  | D24 | F B | GRY TAN | 8B 8A | 8 |
| "CONVERT" MODE |  | D25 | F B | BRN TAN | 9B 9A | 9 |
| "CYCLIC BYPASS" MODE |  | D26 | F B | RED TAN | 10B 10A | 10 |
| "BLOCK BYPASS" MODE |  | D27 | F B | ORN TAN | 11B 11A | 11 |
| SPARE - BIT 12 |  | D28 | F B | YLW TAN | 12B 12A | 12 |
| SPARE - BIT 13 |  | D29 | F B | GRN TAN | 13B 13A | 13 |
| SPARE - BIT 14 |  | D30 | F B | BLU TAN | 14B 14A | 14 |
| SPARE |  | D31 | F B | VIO TAN | 15B 15A | 15 |
| READY |  | D32 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 13 | MODULE TYPE 337 POWER SUPPLY CONTROLLER |
| --- | --- |

| DESCRIPTION | CONMMENT | CONT'D DWG |
| --- | --- | --- |
| CONTROL FOR POWER SUPPLY : __OH2-1__________________________________ |
| POWER SUPPLY ADDRESS (PSA) = _3__ |  | N/A |
| LINK I/O (UPPER CONNECTOR) |  |  |
| LINK I/O (LOWER CONNECTOR) |  |  |
| SIGNAL NAME | CONT. DWG | CROSS |  | CLR | PIN# | BIT |
| FIRING ANGLE 20 - LSB |  | D33 | F B | BRN TAN | 1B 1A | 1 |
| FIRING ANGLE 21 |  | D34 | F B | RED TAN | 2B 2A | 2 |
| FIRING ANGLE 22 |  | D35 | F B | ORN TAN | 3B 3A | 3 |
| FIRING ANGLE 23 |  | D36 | F B | YLW TAN | 4B 4A | 4 |
| FIRING ANGLE 24 |  | D37 | F B | GRN TAN | 5B 5A | 5 |
| FIRING ANGLE 25 |  | D38 | F B | BLU TAN | 6B 6A | 6 |
| FIRING ANGLE 26 |  | D39 | F B | VIO TAN | 7B 7A | 7 |
| FIRING ANGLE 27 - MSB |  | D40 | F B | GRY TAN | 8B 8A | 8 |
| "CONVERT" MODE |  | D41 | F B | BRN TAN | 9B 9A | 9 |
| "CYCLIC BYPASS" MODE |  | D42 | F B | RED TAN | 10B 10A | 10 |
| "BLOCK BYPASS" MODE |  | D43 | F B | ORN TAN | 11B 11A | 11 |
| SPARE - BIT 12 |  | D44 | F B | YLW TAN | 12B 12A | 12 |
| SPARE - BIT 13 |  | D45 | F B | GRN TAN | 13B 13A | 13 |
| SPARE - BIT 14 |  | D46 | F B | BLU TAN | 14B 14A | 14 |
| SPARE |  | D47 | F B | VIO TAN | 15B 15A | 15 |
| READY |  | D48 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 14 | MODULE TYPE 302 DIGITAL OUTPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH1 INTERRUPTER CONTROL | EOH1-INT-D1 | B-4F1005 SH. 629 | D49 | F B | BRN TAN | 3B 3A | 1 |
|  |  |  | D50 | F B | RED TAN | 4B 4A | 2 |
|  |  |  | D51 | F B | ORN TAN | 5B 5A | 3 |
| OH2 INTERRUPTER CONTROL | EOH2-INT-D1 | B-4F1005 SH. 630 | D52 | F B | YLW TAN | 6B 6A | 4 |
|  |  |  | D53 | F B | GRN TAN | 7B 7A | 5 |
|  |  |  | D54 | F B | BLU TAN | 8B 8A | 6 |
|  |  |  | D55 | F B | VIO TAN | 9B 9A | 7 |
|  |  |  | D56 | F B | GRY TAN | 10B 10A | 8 |
|  |  |  | D57 | F B | BRN TAN | 11B 11A | 9 |
|  |  |  | D58 | F B | RED TAN | 12B 12A | 10 |
| OH1-1 RESET COMMAND | EOH1-PSS-1C-D7 | B-4F1005 SH. 620,621 | D59 | F B | ORN TAN | 13B 13A | 11 |
| OH1-2 RESET COMMAND | EOH1-PSS-2C-D7 | B-4F1005 SH. 622,623 | D60 | F B | YLW TAN | 14B 14A | 12 |
| OH2-1 RESET COMMAND | EOH2-PSS-1C-D7 | B-4F1005 SH. 624,625 | D61 | F B | GRN TAN | 15B 15A | 13 |
|  |  |  | D62 | F B | BLU TAN | 16B 16A | 14 |
|  |  |  | D63 | F B | VIO TAN | 17B 17A | 15 |
|  |  |  | D64 | F B | GRY TAN | 18B 18A | 16 |

| SLOT NO.: 15 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | C49 | F B | BRN TAN | 1B 1A | 1 |
|  |  |  | C50 | F B | RED TAN | 2B 2A | 2 |
|  |  |  | C51 | F B | ORN TAN | 3B 3A | 3 |
|  |  |  | C52 | F B | YLW TAN | 4B 4A | 4 |
|  |  |  | C53 | F B | GRN TAN | 5B 5A | 5 |
|  |  |  | C54 | F B | BLU TAN | 6B 6A | 6 |
|  |  |  | C55 | F B | VIO TAN | 7B 7A | 7 |
|  |  |  | C56 | F B | GRY TAN | 8B 8A | 8 |
|  |  |  | C57 | F B | BRN TAN | 9B 9A | 9 |
|  |  |  | C58 | F B | RED TAN | 10B 10A | 10 |
|  |  |  | C59 | F B | ORN TAN | 11B 11A | 11 |
|  |  |  | C60 | F B | YLW TAN | 12B 12A | 12 |
| OH POWER SUPPLY : BIT 0 | EOH-PSS-POL-D1 | B-4F1005 SH. 778 | C61 | F B | GRN TAN | 13B 13A | 13 |
| BIT 1 | EOH-PSS-POL-D1 | B-4F1005 SH. 778 | C62 | F B | BLU TAN | 14B 14A | 14 |
| BIT 2 | EOH-PSS-POL-D1 | B-4F1005 SH. 778 | C63 | F B | VIO TAN | 15B 15A | 15 |
| BIT 3 | EOH-PSS-POL-D1 | B-4F1005 SH. 778 | C64 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 16 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 0 = 120 V AUX POWER OFF (L1)(OH1) | EOH1-CBD-OH1-D2 | B-4F1005 SH. 777 | C1 | F B | BRN TAN | 1B 1A | 1 |
| 1 = OH POWER SUPPLY ONLY | EOH1-CBD-OH1-D2 | B-4F1005 SH. 777 | C2 | F B | RED TAN | 2B 2A | 2 |
| 1 = OH SDS ONLY | EOH1-CBD-OH1-D2 | B-4F1005 SH. 777 | C3 | F B | ORN TAN | 3B 3A | 3 |
| 1 = OH LEVEL 1 FAULT (IMPOSED) | EOH1-CBD-OH1-D2 | B-4F1005 SH. 777 | C4 | F B | YLW TAN | 4B 4A | 4 |
| 1 = OH LEVEL 3 FAULT (IMPOSED) | EOH1-CBD-OH1-D2 | B-4F1005 SH. 777 | C5 | F B | GRN TAN | 5B 5A | 5 |
| 1 = OH BKR TRIP COMMAND (IMPOSED) | EOH1-CBD-OH1-D2 | B-4F1005 SH. 777 | C6 | F B | BLU TAN | 6B 6A | 6 |
| 1 = VARIOUS RESETS ACHNOWLEDGED | EOH1-CBD-OH1-D2 EOH1-PSS-1C-D7 EOH1-PSS-2C-D7 EOH2-PSS-1C-D7 EOH3-PSS-1C-D7 EOH3-PSS-2C-D7 EOH4-PSS-1C-D7 EOH5-PSS-1C-D7 EOH5-PSS-2C-D7 EOH6-PSS-1C-D7 | B-4F1005 : SH. 777 SH. 620,621 SH. 622,623 SH. 624,625 SH. 660,661 SH. 622,623 SH. 664,665 SH. 700,701 SH. 702,703 SH. 704,705 | C7 | F B | VIO TAN | 7B 7A | 7 |
|  |  |  | C8 | F B | GRY TAN | 8B 8A | 8 |
| OH1 REVERSING SWITCH STATS : 1 = REVERSING SWITCH CLOSED | EOH1-REV-1-D1 | B-4F1005 SH. 627 | C9 | F B | BRN TAN | 9B 9A | 9 |
| 1 = REVERSING SWITCH OPEN | EOH1-REV-1-D1 | B-4F1005 SH. 627 | C10 | F B | RED TAN | 10B 10A | 10 |
| 1 = REVERSING SWITCH READY | EOH1-REV-1-D1 | B-4F1005 SH. 627 | C11 | F B | ORN TAN | 11B 11A | 11 |
| 1 = DC POWER READY | EOH1-REV-1-D1 | B-4F1005 SH. 627 | C12 | F B | YLW TAN | 12B 12A | 12 |
| OH2 REVERSING SWITCH STATS : 1 = REVERSING SWITCH CLOSED | EOH2-REV-1-D1 | B-4F1005 SH. 627 | C13 | F B | GRN TAN | 13B 13A | 13 |
| 1 = REVERSING SWITCH OPEN | EOH2-REV-1-D1 | B-4F1005 SH. 627 | C14 | F B | BLU TAN | 13B 13A | 14 |
| 1 = REVERSING SWITCH READY | EOH2-REV-1-D1 | B-4F1005 SH. 627 | C15 | F B | VIO TAN | 14B 14A | 15 |
| 1 = DC POWER READY | EOH2-REV-1-D1 | B-4F1005 SH. 627 | C16 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 17 | MODULE TYPE 302 DIGITAL OUTPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OH1 INTERRUPTER CONTROL : BIT 0 | EOH1-INT-D2 | B-4F1005 SH. 629 | C17 | F B | BRN TAN | 3B 3A | 1 |
| BIT 1 | EOH1-INT-D2 | B-4F1005 SH. 629 | C18 | F B | RED TAN | 4B 4A | 2 |
| OH2 INTERRUPTER CONTROL : BIT 0 | EOH2-INT-D2 | B-4F1005 SH. 630 | C19 | F B | ORN TAN | 5B 5A | 3 |
| BIT 1 | EOH2-INT-D2 | B-4F1005 SH. 630 | C20 | F B | YLW TAN | 6B 6A | 4 |
|  |  |  | C21 | F B | GRN TAN | 7B 7A | 5 |
|  |  |  | C22 | F B | BLU TAN | 8B 8A | 6 |
|  |  |  | C23 | F B | VIO TAN | 9B 9A | 7 |
|  |  |  | C24 | F B | GRY TAN | 10B 10A | 8 |
|  |  |  | C25 | F B | BRN TAN | 11B 11A | 9 |
|  |  |  | C26 | F B | RED TAN | 12B 12A | 10 |
|  |  |  | C27 | F B | ORN TAN | 13B 13A | 11 |
|  |  |  | C28 | F B | YLW TAN | 14B 14A | 12 |
|  |  |  | C29 | F B | GRN TAN | 15B 15A | 13 |
|  |  |  | C30 | F B | BLU TAN | 16B 16A | 14 |
|  |  |  | C31 | F B | VIO TAN | 17B 17A | 15 |
|  |  |  | C32 | F B | GRY TAN | 18B 18A | 16 |

| SLOT NO.: 18 | MODULE TYPE 322 DIGITAL INPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | C33 | F B | BRN TAN | 1B 1A | 1 |
|  |  |  | C34 | F B | RED TAN | 2B 2A | 2 |
|  |  |  | C35 | F B | ORN TAN | 3B 3A | 3 |
|  |  |  | C36 | F B | YLW TAN | 4B 4A | 4 |
|  |  |  | C37 | F B | GRN TAN | 5B 5A | 5 |
|  |  |  | C38 | F B | BLU TAN | 6B 6A | 6 |
|  |  |  | C39 | F B | VIO TAN | 7B 7A | 7 |
|  |  |  | C40 | F B | GRY TAN | 8B 8A | 8 |
|  |  |  | C41 | F B | BRN TAN | 9B 9A | 9 |
|  |  |  | C42 | F B | RED TAN | 10B 10A | 10 |
|  |  |  | C43 | F B | ORN TAN | 11B 11A | 11 |
|  |  |  | C44 | F B | YLW TAN | 12B 12A | 12 |
|  |  |  | C45 | F B | GRN TAN | 13B 13A | 13 |
|  |  |  | C46 | F B | BLU TAN | 13B 13A | 14 |
|  |  |  | C47 | F B | VIO TAN | 14B 14A | 15 |
|  |  |  | C48 | F B | GRY TAN | 16B 16A | 16 |

| SLOT NO.: 21/22 | MODULE TYPE 404A TIMING MODULE |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CLEAN EARTH |  |  |  | F B | BRN TAN | 1B 1A | CE |
| START TRIGGER FOR CRATE 19 TRANSIENT DIGITIZER | PCTM-19-1 | CRATE 19, RACK 651 |  | F B | RED TAN | 2B 2A | 1 |
| CLEAN EARTH |  |  |  | F B | ORN TAN | 3B 3A | CE |
|  |  |  |  | F B | YLW TAN | 4B 4A | 2 |
| CLEAN EARTH |  |  |  | F B | GRN TAN | 5B 5A | CE |
|  |  |  |  | F B | BLU TAN | 6B 6A | 3 |
| CLEAN EARTH |  |  |  | F B | VIO TAN | 7B 7A | CE |
|  |  |  |  | F B | GRY TAN | 8B 8A | 4 |
| CLEAN EARTH |  |  |  | F B | BRN TAN | 9B 9A | CE |
|  |  |  |  | F B | RED TAN | 10B 10A | 5 |
| CLEAN EARTH |  |  |  | F B | ORN TAN | 11B 11A | CE |
|  |  |  |  | F B | YLW TAN | 12B 12A | 6 |
| CLEAN EARTH |  |  |  | F B | GRN TAN | 13B 13A | CE |
|  |  |  |  | F B | BLU TAN | 14B 14A | 7 |
| CLEAN EARTH |  |  |  | F B | VIO TAN | 15B 15A | CE |
|  |  |  |  | F B | GRY TAN | 16B 16A | 8 |

# Text boxes

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX

NSTX