| CRATE LAYOUT DESCRIPTION |  |
| --- | --- |

| SLOT | CROSS-CX | MODULE DESCRIPTION & STRAPPING |
| --- | --- | --- |
| 1 | ---- | 903 32 KW 12-BIT MEMORY [00000] |
| 2 | D65 - D80 | 32 CHANNEL TYPE 1 TRANSIENT DIGITIZER 908 +/- 5 VOLTS, 64 KW MEMORY, P2 CLOCK SOURCE |
| 3 | ---- | 908 (slot 2 of 3) |
| 4 | ---- | 908 (slot 3 of 3) |
| 5 | ---- | ---- |
| 6 | ---- | ---- |
| 7 | ---- | 59256 256 KW 12-BIT MEMORY [01] |
| 8 | ---- | 59256 256 KW 12-BIT MEMORY [00] |
| 9 | C65 - C72 | 32 CHANNEL TYPE 1 TRANSIENT DIGITIZER 908 +/- 5 VOLTS, 512 KW MEMORY, P2 CLOCK SOURCE |
| 10 | ---- | 908 (slot 2 of 3) |
| 11 | ---- | 908 (slot 3 of 3) |
| 12 | ---- | ---- |
| 13 | ---- | ---- |
| 14 | ---- | 59256 256 KW 12-BIT MEMORY [01] |
| 15 | ---- | 59256 256 KW 12-BIT MEMORY [00] |
| 16 | C73 - C80 | 32 CHANNEL TYPE 1 TRANSIENT DIGITIZER 908 +/- 5 VOLTS, 512 KW MEMORY, P2 CLOCK SOURCE |
| 17 | ---- | 908 (slot 2 of 3) |
| 18 | ---- | 908 (slot 3 of 3) |
| 19 | ---- | ---- |
| 20 | ---- | ---- |
| 21 | ---- | ---- |
| 22 | ---- | ---- |
| 23 | ---- | 313 U-PORT/FACILITY CLOCK REPEATER |
| 24/25 | ---- | 3952 L-2 CRATE CONTROLLER |

| SLOT NO.: 2/4 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 1-16 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| OH-PSS-6S-1P CURRENT 8 V = 24 KA (4.99 K IN-LINE RESISTORS DIVIDE INPUT VOLTAGE BY 2) | pc_oh_pss_6s_1p_i | B-4F1005 SH. 930 | D65 | + - SH | 2 3 1 | 1 |
|  | pc_oh_pss_11s_1p_i | B-4F1005 SH. 930 | D66 | + - SH | 2 3 1 | 2 |
| OH-PSS-6S-1P VOLTAGE 10 V = 1500 VOLTS (DITTO 4.99 K) | pc_oh_pss_6s_1p_v | B-4F1005 SH. 930 | D67 | + - SH | 2 3 1 | 3 |
|  | pc_oh_pss_11s_1p_v | B-4F1005 SH. 930 | D68 | + - SH | 2 3 1 | 4 |
| OH-PSS-6S-2P CURRENT | pc_oh_pss_6s_2p_i | B-4F1005 SH. 932 | D69 | + - SH | 2 3 1 | 5 |
|  | pc_oh_pss_11s_2p_i | B-4F1005 SH. 932 | D70 | + - SH | 2 3 1 | 6 |
| OH-PSS-6S-2P VOLTAGE | pc_oh_pss_6s_2p_v | B-4F1005 SH. 932 | D71 | + - SH | 2 3 1 | 7 |
|  | pc_oh_pss_11s_2p_v | B-4F1005 SH. 932 | D72 | + - SH | 2 3 1 | 8 |
|  |  | B-4F1005 SH. 570,571 | D73 | + - SH | 2 3 1 | 9 |
|  |  | B-4F1005 SH. 570,571 | D74 | + - SH | 2 3 1 | 10 |
|  |  | B-4F1005 SH. 570,571 | D75 | + - SH | 2 3 1 | 11 |
|  |  | B-4F1005 SH. 570,571 | D76 | + - SH | 2 3 1 | 12 |
| HF-PSS-1-A CURRENT | pc_hf_pss_1A_i | B-4F1005 SH. 578,579 | D77 | + - SH | 2 3 1 | 13 |
| HF-PSS-1-B CURRENT | pc_hf_pss_1B_i | B-4F1005 SH. 578,579 | D78 | + - SH | 2 3 1 | 14 |
| HF-PSS-1-A VOLTAGE | pc_hf_pss_1A_v | B-4F1005 SH. 578,579 | D79 | + - SH | 2 3 1 | 15 |
| HF-PSS-1-B VOLTAGE | pc_hf_pss_1B_v | B-4F1005 SH. 578,579 | D80 | + - SH | 2 3 1 | 16 |

| SLOT NO.: 2/4 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 17-32 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | + - SH | 2 3 1 | 17 |
|  |  |  |  | + - SH | 2 3 1 | 18 |
|  |  |  |  | + - SH | 2 3 1 | 19 |
|  |  |  |  | + - SH | 2 3 1 | 20 |
|  |  |  |  | + - SH | 2 3 1 | 21 |
|  |  |  |  | + - SH | 2 3 1 | 22 |
|  |  |  |  | + - SH | 2 3 1 | 23 |
|  |  |  |  | + - SH | 2 3 1 | 24 |
|  |  |  |  | + - SH | 2 3 1 | 25 |
|  |  |  |  | + - SH | 2 3 1 | 26 |
|  |  |  |  | + - SH | 2 3 1 | 27 |
|  |  |  |  | + - SH | 2 3 1 | 28 |
|  |  |  |  | + - SH | 2 3 1 | 29 |
|  |  |  |  | + - SH | 2 3 1 | 30 |
|  |  |  |  | + - SH | 2 3 1 | 31 |
|  |  |  |  | + - SH | 2 3 1 | 32 |

| SLOT NO.: 2/4 | MODULE TYPE 908 TRANSIENT DIGITIZER, CLK/TRIG |
| --- | --- |

| SIGNAL NAME | CONT. DWG | FCT | PIN# |
| --- | --- | --- | --- |
| TRIGGER INPUT - UPPER | FROM 404A, CH 0 OF 7 TOK1 : C = 6, N = 22 DEVICE : PCTM-18-1 | + - SH | 2 3 1 |
| TRIGGER INPUT - LOWER |  | + - SH | 2 3 1 |
| CLOCK INPUT - UPPER |  | + - SH | 2 3 1 |
| CLOCK INPUT - LOWER |  | + - SH | 2 3 1 |

| SLOT NO.: 9/11 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 1-16 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| TF POWER TESTING | EPS-D1-1 |  | C65 | + - SH | 2 3 1 | 1 |
| TF POWER TESTING | EPS-D1-2 |  | C66 | + - SH | 2 3 1 | 2 |
| TF POWER TESTING | EPS-D1-3 |  | C67 | + - SH | 2 3 1 | 3 |
| TF POWER TESTING | EPS-D1-4 |  | C68 | + - SH | 2 3 1 | 4 |
| TF POWER TESTING | EPS-D1-5 |  | C69 | + - SH | 2 3 1 | 5 |
| TF POWER TESTING | EPS-D1-6 |  | C70 | + - SH | 2 3 1 | 6 |
| TF POWER TESTING | EPS-D1-7 |  | C71 | + - SH | 2 3 1 | 7 |
| TF POWER TESTING | EPS-D1-8 |  | C72 | + - SH | 2 3 1 | 8 |
|  |  |  |  | + - SH | 2 3 1 | 9 |
|  |  |  |  | + - SH | 2 3 1 | 10 |
|  |  |  |  | + - SH | 2 3 1 | 11 |
|  |  |  |  | + - SH | 2 3 1 | 12 |
|  |  |  |  | + - SH | 2 3 1 | 13 |
|  |  |  |  | + - SH | 2 3 1 | 14 |
|  |  |  |  | + - SH | 2 3 1 | 15 |
|  |  |  |  | + - SH | 2 3 1 | 16 |

| SLOT NO.: 9/11 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 17-32 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | + - SH | 2 3 1 | 17 |
|  |  |  |  | + - SH | 2 3 1 | 18 |
|  |  |  |  | + - SH | 2 3 1 | 19 |
|  |  |  |  | + - SH | 2 3 1 | 20 |
|  |  |  |  | + - SH | 2 3 1 | 21 |
|  |  |  |  | + - SH | 2 3 1 | 22 |
|  |  |  |  | + - SH | 2 3 1 | 23 |
|  |  |  |  | + - SH | 2 3 1 | 24 |
|  |  |  |  | + - SH | 2 3 1 | 25 |
|  |  |  |  | + - SH | 2 3 1 | 26 |
|  |  |  |  | + - SH | 2 3 1 | 27 |
|  |  |  |  | + - SH | 2 3 1 | 28 |
|  |  |  |  | + - SH | 2 3 1 | 29 |
|  |  |  |  | + - SH | 2 3 1 | 30 |
|  |  |  |  | + - SH | 2 3 1 | 31 |
|  |  |  |  | + - SH | 2 3 1 | 32 |

| SLOT NO.: 9/11 | MODULE TYPE 908 TRANSIENT DIGITIZER, CLK/TRIG |
| --- | --- |

| SIGNAL NAME | CONT. DWG | FCT | PIN# |
| --- | --- | --- | --- |
| TRIGGER INPUT - UPPER | SOURCE : FROM 404A, CH 1 OF 7 TOK1 : C = 6, N = 22 DEVICE : PCTM-18-2 | + - SH | 2 3 1 |
| TRIGGER INPUT - LOWER | TRIGGER EXTENDED TO 908, N= 16/18 | + - SH | 2 3 1 |
| CLOCK INPUT - UPPER |  | + - SH | 2 3 1 |
| CLOCK INPUT - LOWER |  | + - SH | 2 3 1 |

| SLOT NO.: 16/18 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 1-16 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| TF POWER TESTING | EPS-D2-1 |  | C73 | + - SH | 2 3 1 | 1 |
| TF POWER TESTING | EPS-D2-2 |  | C74 | + - SH | 2 3 1 | 2 |
| TF POWER TESTING | EPS-D2-3 |  | C75 | + - SH | 2 3 1 | 3 |
| TF POWER TESTING | EPS-D2-4 |  | C76 | + - SH | 2 3 1 | 4 |
| TF POWER TESTING | EPS-D2-5 |  | C77 | + - SH | 2 3 1 | 5 |
| TF POWER TESTING | EPS-D2-6 |  | C78 | + - SH | 2 3 1 | 6 |
| TF POWER TESTING | EPS-D2-7 |  | C79 | + - SH | 2 3 1 | 7 |
| TF POWER TESTING | EPS-D2-8 |  | C80 | + - SH | 2 3 1 | 8 |
|  |  |  |  | + - SH | 2 3 1 | 9 |
|  |  |  |  | + - SH | 2 3 1 | 10 |
|  |  |  |  | + - SH | 2 3 1 | 11 |
|  |  |  |  | + - SH | 2 3 1 | 12 |
|  |  |  |  | + - SH | 2 3 1 | 13 |
|  |  |  |  | + - SH | 2 3 1 | 14 |
|  |  |  |  | + - SH | 2 3 1 | 15 |
|  |  |  |  | + - SH | 2 3 1 | 16 |

| SLOT NO.: 16/18 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 17-32 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | + - SH | 2 3 1 | 17 |
|  |  |  |  | + - SH | 2 3 1 | 18 |
|  |  |  |  | + - SH | 2 3 1 | 19 |
|  |  |  |  | + - SH | 2 3 1 | 20 |
|  |  |  |  | + - SH | 2 3 1 | 21 |
|  |  |  |  | + - SH | 2 3 1 | 22 |
|  |  |  |  | + - SH | 2 3 1 | 23 |
|  |  |  |  | + - SH | 2 3 1 | 24 |
|  |  |  |  | + - SH | 2 3 1 | 25 |
|  |  |  |  | + - SH | 2 3 1 | 26 |
|  |  |  |  | + - SH | 2 3 1 | 27 |
|  |  |  |  | + - SH | 2 3 1 | 28 |
|  |  |  |  | + - SH | 2 3 1 | 29 |
|  |  |  |  | + - SH | 2 3 1 | 30 |
|  |  |  |  | + - SH | 2 3 1 | 31 |
|  |  |  |  | + - SH | 2 3 1 | 32 |

| SLOT NO.: 16/18 | MODULE TYPE 908 TRANSIENT DIGITIZER, CLK/TRIG |
| --- | --- |

| SIGNAL NAME | CONT. DWG | FCT | PIN# |
| --- | --- | --- | --- |
| TRIGGER INPUT - UPPER | SOURCE : FROM 404A, CH 1 OF 7 TOK1 : C = 6, N = 22 DEVICE : PCTM-18-2 | + - SH | 2 3 1 |
| TRIGGER INPUT - LOWER | TRIGGER EXTENDED TO 908, N= 9/11 | + - SH | 2 3 1 |
| CLOCK INPUT - UPPER |  | + - SH | 2 3 1 |
| CLOCK INPUT - LOWER |  | + - SH | 2 3 1 |