| CRATE LAYOUT DESCRIPTION |  |
| --- | --- |

| SLOT | CROSS-CX | MODULE DESCRIPTION & STRAPPING |
| --- | --- | --- |
| 1 | B01-B08 | 404A (slot 1 of 2) NOTE : ALL CHANNELS SHOULD HAVE THE E-STOP DIP SWITCHES SET TO "NO E-STOP". |
| 2 | ---- | 404A (slot 2 of 2) [‘N’ slot] |
| 3 | ---- | 59256 256 KW 12-BIT MEMORY [01] |
| 4 | ---- | 59256 256 KW 12-BIT MEMORY [00] |
| 5 | ---- | 32 CHANNEL TYPE 1 TRANSIENT DIGITIZER 908 +/- 2.5 VOLTS, 512 KW MEMORY, P2 CLOCK SOURCE |
| 6 | ---- | 908 (slot 2 of 3) |
| 7 | ---- | 908 (slot 3 of 3) |
| 8 | ---- | 59256 256 KW 12-BIT MEMORY [00] |
| 9 | ---- | 32 CHANNEL TYPE 1 TRANSIENT DIGITIZER 3232 +/- 10 VOLTS, 256 KW MEMORY, P2 CLOCK SOURCE |
| 10 | ---- | 3232 (slot 2 of 3) |
| 11 | ---- | 3232 (slot 3 of 3) |
| 12 | ---- | 7064 64 KW 12-BIT MEMORY [0001] |
| 13 | ---- | 7064 64 KW 12-BIT MEMORY [0000] |
| 14 | ---- | 32 CHANNEL TYPE 1 TRANSIENT DIGITIZER 908 +/- 2.5 VOLTS, 128 KW MEMORY, P2 CLOCK SOURCE |
| 15 | ---- | 908 (slot 2 of 3) |
| 16 | ---- | 908 (slot 3 of 3) |
| 17 | ---- | 7064 64 KW 12-BIT MEMORY [0001] |
| 18 | ---- | 7064 64 KW 12-BIT MEMORY [0000] |
| 19 | ---- | 32 CHANNEL TYPE 1 TRANSIENT DIGITIZER 908 +/- 2.5 VOLTS, 128 KW MEMORY, P2 CLOCK SOURCE |
| 20 | ---- | 908 (slot 2 of 3) |
| 21 | ---- | 908 (slot 3 of 3) |
| 22 | ---- | 413 PARALLEL TIME INTERVAL COUNTER |
| 23 | ---- | 313 U-PORT/FACILITY CLOCK REPEATER |
| 24/25 | ---- | 3952 L-2 CRATE CONTROLLER |

| SLOT NO.: 1/2 | MODULE TYPE 404A TIMING MODULE |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CLEAN EARTH |  |  |  | F B | BRN TAN | 1B 1A | CE |
| START TRIGGER FOR CRATE 22, N=5 & 9 908 DIGITIZERs | pc_404c22n2ch1_SUB | 908 TRIG INPUT | B01 | F B | RED TAN | 2B 2A | 1 |
| CLEAN EARTH |  |  |  | F B | ORN TAN | 3B 3A | CE |
| START TRIGGER FOR CRATE 22, N=14 & 19 908 DIGITIZERs | pc_404c22n2ch2_SUB | 908 TRIG INPUT | B02 | F B | YLW TAN | 4B 4A | 2 |
| CLEAN EARTH |  |  |  | F B | GRN TAN | 5B 5A | CE |
| SOP – 2.1 seconds to Rack 205 VME T&S module B-AE4005 Sh19 | pc_rtcMdSwCode_LO pc_rtcMdSwDly_LO |  | B03 | F B | BLU TAN | 6B 6A | 3 |
| CLEAN EARTH |  |  |  | F B | VIO TAN | 7B 7A | CE |
| SOP to Rack 205 VME T&S module B-AE4005 Sh19 | pc_rtcSOPCode_LO pc_rtcSOPDly_LO | 908 TRIG INPUT | B04 | F B | GRY TAN | 8B 8A | 4 |
| CLEAN EARTH |  |  |  | F B | BRN TAN | 9B 9A | CE |
| EOP to Rack 205 VME T&S module B-AE4005 Sh19 | pc_rtcEOPCode_LO pc_rtcEOPDly_LO |  | B05 | F B | RED TAN | 10B 10A | 5 |
| CLEAN EARTH |  |  |  | F B | ORN TAN | 11B 11A | CE |
| T(0) for NB and RF Perm. in Plasma Control Chassis in Rack 208 | pc_permCode_LO pc_permDly_LO |  | B06 | F B | YLW TAN | 12B 12A | 6 |
| CLEAN EARTH |  |  |  | F B | GRN TAN | 13B 13A | CE |
|  |  |  | B07 | F B | BLU TAN | 14B 14A | 7 |
| CLEAN EARTH |  |  |  | F B | VIO TAN | 15B 15A | CE |
|  |  |  | B08 | F B | GRY TAN | 16B 16A | 8 |

NOTE : ALL CHANNELS SHOULD HAVE THE E-STOP DIP SWITCHES SET TO "NO E-STOP".

THIS MEANS NO PULSE WILL COME OUT WHEN THE E-STOP CODE IS ISSUED.

| SLOT NO.: 5/7 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 1-16 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| SDS Signal 3168 V/V | pc_chi_sds_vd1_1 |  |  | + - SH | 2 3 1 | 1 |
| SDS Signal 3168 V/V | pc_chi_sds_vd2_1 |  |  | + - SH | 2 3 1 | 2 |
| SDS Signal 3168 V/V | pc_pf3u_sds_vd1_1 |  |  | + - SH | 2 3 1 | 3 |
| SDS Signal 3168 V/V | pc_pf3u_sds_vd2_1 |  |  | + - SH | 2 3 1 | 4 |
| SDS Signal 3168 V/V | pc_pf2l_sds_vd1_1 |  |  | + - SH | 2 3 1 | 5 |
| SDS Signal 3168 V/V | pc_pf2l_sds_vd2_1 |  |  | + - SH | 2 3 1 | 6 |
| SDS Signal 3168 V/V | pc_pf3l_sds_vd1_1 |  |  | + - SH | 2 3 1 | 7 |
| SDS Signal 3168 V/V | pc_pf3l_sds_vd2_1 |  |  | + - SH | 2 3 1 | 8 |
| SDS Signal 3168 V/V | pc_pf2u_sds_vd1_1 |  |  | + - SH | 2 3 1 | 9 |
| SDS Signal 3168 V/V | pc_pf2u_sds_vd2_1 |  |  | + - SH | 2 3 1 | 10 |
| SDS Signal 3168 V/V | pc_pf45_sds_vd1_1 |  |  | + - SH | 2 3 1 | 11 |
| SDS Signal 3168 V/V | pc_pf45_sds_vd2_1 |  |  | + - SH | 2 3 1 | 12 |
| SDS Signal 3168 V/V | pc_pf1b_sds_vd1_1 |  |  | + - SH | 2 3 1 | 13 |
| SDS Signal 3168 V/V | pc_pf1b_sds_vd2_1 |  |  | + - SH | 2 3 1 | 14 |
| unused signal | n/a |  |  | + - SH | 2 3 1 | 15 |
| unused signal | n/a |  |  | + - SH | 2 3 1 | 16 |

| SLOT NO.: 5/7 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 17-32 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| SDS Signal 3168 V/V | pc_pf1al_sds_vd1_1 |  |  | + - SH | 2 3 1 | 17 |
| SDS Signal 3168 V/V | pc_pf1al_sds_vd2_1 |  |  | + - SH | 2 3 1 | 18 |
| SDS Signal 3168 V/V | pc_pf1au_sds_vd1_1 |  |  | + - SH | 2 3 1 | 19 |
| SDS Signal 3168 V/V | pc_pf1au_sds_vd2_1 |  |  | + - SH | 2 3 1 | 20 |
| unused signal | n/a |  |  | + - SH | 2 3 1 | 21 |
| unused signal | n/a |  |  | + - SH | 2 3 1 | 22 |
| SDS Signal 3168 V/V | pc_hf_sds_vd1_1 |  |  | + - SH | 2 3 1 | 23 |
| SDS Signal 3168 V/V | pc_hf_sds_vd2_1 |  |  | + - SH | 2 3 1 | 24 |
| SDS Signal 3168 V/V | pc_rwm_sds_vd1_1 |  |  | + - SH | 2 3 1 | 25 |
| SDS Signal 3168 V/V | pc_rwm_sds_vd2_1 |  |  | + - SH | 2 3 1 | 26 |
| SDS Signal 3168 V/V | pc_oh_sds_vd1_1 |  |  | + - SH | 2 3 1 | 27 |
| SDS Signal 3168 V/V | pc_oh_sds_vd2_1 |  |  | + - SH | 2 3 1 | 28 |
| SDS Signal 3168 V/V | pc_tf_sds_vd1_1 |  |  | + - SH | 2 3 1 | 29 |
| SDS Signal 3168 V/V | pc_tf_sds_vd2_1 |  |  | + - SH | 2 3 1 | 30 |
| SDS Signal 3168 V/V | pc_oh_sds_vd1_1 |  |  | + - SH | 2 3 1 | 31 |
| SDS Signal 3168 V/V | pc_oh_sds_vd2_1 |  |  | + - SH | 2 3 1 | 32 |

| SLOT NO.: 5/7 | MODULE TYPE 908 TRANSIENT DIGITIZER, CLK/TRIG |
| --- | --- |

| SIGNAL NAME | CONT. DWG | FCT | PIN# |
| --- | --- | --- | --- |
| TRIGGER INPUT - UPPER | FROM 404A, CH 1 OF 8 TOK1 : C = 22, N = 2 DEVICE : pc_404c22n2ch1_SUB | + - SH | 2 3 1 |
| TRIGGER INPUT - LOWER | TO 908 IN SLOTS 9/11 | + - SH | 2 3 1 |
| CLOCK INPUT - UPPER |  | + - SH | 2 3 1 |
| CLOCK INPUT - LOWER |  | + - SH | 2 3 1 |

| SLOT NO.: 9/11 | MODULE TYPE 3232 TRANSIENT DIGITIZER, CHS 1-16 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| 20mA per volt | pc_TF_inst_gnd_cur |  | B11 | + - SH | 2 3 1 | 1 |
| 20mA per volt | pc_OH_inst_gnd_cur |  | B12 | + - SH | 2 3 1 | 2 |
| 20mA per volt | pc_CHI_inst_gnd_cur |  | B13 | + - SH | 2 3 1 | 3 |
| 20mA per volt | pc_PF_inst_gnd_cur |  | B14 | + - SH | 2 3 1 | 4 |
| 20mA per volt | pc_SP1_inst_gnd_cur |  | B15 | + - SH | 2 3 1 | 5 |
| 20mA per volt | pc_SP2_inst_gnd_cur |  | B16 | + - SH | 2 3 1 | 6 |
| HCS TF Fault < 3v = no fault > 6v = fault | pc_tf_hcs_flt |  |  | + - SH | 2 3 1 | 7 |
| HCS OH Fault < 3v = no fault > 6v = fault | pc_oh_hcs_flt |  |  | + - SH | 2 3 1 | 8 |
| HCS PF/CHI Fault < 3v = no fault > 6v = fault | pc_pfchi_hcs_flt |  |  | + - SH | 2 3 1 | 9 |
| 20mA per volt | pc_SP3_inst_gnd_cur |  | B20 | + - SH | 2 3 1 | 10 |
| 20mA per volt | pc_SP4_inst_gnd_cur |  | B21 | + - SH | 2 3 1 | 11 |
|  |  |  |  | + - SH | 2 3 1 | 12 |
|  |  |  |  | + - SH | 2 3 1 | 13 |
|  |  |  |  | + - SH | 2 3 1 | 14 |
|  |  |  |  | + - SH | 2 3 1 | 15 |
|  |  |  |  | + - SH | 2 3 1 | 16 |

| SLOT NO.: 9/11 | MODULE TYPE 3232 TRANSIENT DIGITIZER, CHS 17-32 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | + - SH | 2 3 1 | 17 |
|  |  |  |  | + - SH | 2 3 1 | 18 |
|  |  |  |  | + - SH | 2 3 1 | 19 |
|  |  |  |  | + - SH | 2 3 1 | 20 |
|  |  |  |  | + - SH | 2 3 1 | 21 |
|  |  |  |  | + - SH | 2 3 1 | 22 |
|  |  |  |  | + - SH | 2 3 1 | 23 |
|  |  |  |  | + - SH | 2 3 1 | 24 |
|  |  |  |  | + - SH | 2 3 1 | 25 |
|  |  |  |  | + - SH | 2 3 1 | 26 |
|  |  |  |  | + - SH | 2 3 1 | 27 |
|  |  |  |  | + - SH | 2 3 1 | 28 |
|  |  |  |  | + - SH | 2 3 1 | 29 |
|  |  |  |  | + - SH | 2 3 1 | 30 |
|  |  |  |  | + - SH | 2 3 1 | 31 |
|  |  |  |  | + - SH | 2 3 1 | 32 |

| SLOT NO.: 9/11 | MODULE TYPE 3232 TRANSIENT DIGITIZER, CLK/TRIG |
| --- | --- |

| SIGNAL NAME | CONT. DWG | FCT | PIN# |
| --- | --- | --- | --- |
| TRIGGER INPUT - UPPER | FROM 908 IN SLOTS 5/7 | + - SH | 2 3 1 |
| TRIGGER INPUT - LOWER |  | + - SH | 2 3 1 |
| CLOCK INPUT - UPPER |  | + - SH | 2 3 1 |
| CLOCK INPUT - LOWER |  | + - SH | 2 3 1 |

| SLOT NO.: 14/16 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 1-16 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| SDS Signal 3168 V/V | pc_chi_sds_vd1_f |  | C73 | + - SH | 2 3 1 | 1 |
| SDS Signal 3168 V/V | pc_chi_sds_vd2_f |  | C74 | + - SH | 2 3 1 | 2 |
| SDS Signal 3168 V/V | pc_pf3u_sds_vd1_f |  | C75 | + - SH | 2 3 1 | 3 |
| SDS Signal 3168 V/V | pc_pf3u_sds_vd2_f |  | C76 | + - SH | 2 3 1 | 4 |
| SDS Signal 3168 V/V | pc_pf2l_sds_vd1_f |  | C77 | + - SH | 2 3 1 | 5 |
| SDS Signal 3168 V/V | pc_pf2l_sds_vd2_f |  | C78 | + - SH | 2 3 1 | 6 |
| SDS Signal 3168 V/V | pc_pf3l_sds_vd1_f |  | C79 | + - SH | 2 3 1 | 7 |
| SDS Signal 3168 V/V | pc_pf3l_sds_vd2_f |  | C80 | + - SH | 2 3 1 | 8 |
| SDS Signal 3168 V/V | pc_pf2u_sds_vd1_f |  |  | + - SH | 2 3 1 | 9 |
| SDS Signal 3168 V/V | pc_pf2u_sds_vd2_f |  |  | + - SH | 2 3 1 | 10 |
| SDS Signal 3168 V/V | pc_pf45_sds_vd1_f |  |  | + - SH | 2 3 1 | 11 |
| SDS Signal 3168 V/V | pc_pf45_sds_vd2_f |  |  | + - SH | 2 3 1 | 12 |
| SDS Signal 3168 V/V | pc_pf1b_sds_vd1_f |  |  | + - SH | 2 3 1 | 13 |
| SDS Signal 3168 V/V | pc_pf1b_sds_vd2_f |  |  | + - SH | 2 3 1 | 14 |
|  |  |  |  | + - SH | 2 3 1 | 15 |
|  |  |  |  | + - SH | 2 3 1 | 16 |

| SLOT NO.: 14/16 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 17-32 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | + - SH | 2 3 1 | 17 |
|  |  |  |  | + - SH | 2 3 1 | 18 |
|  |  |  |  | + - SH | 2 3 1 | 19 |
|  |  |  |  | + - SH | 2 3 1 | 20 |
|  |  |  |  | + - SH | 2 3 1 | 21 |
|  |  |  |  | + - SH | 2 3 1 | 22 |
|  |  |  |  | + - SH | 2 3 1 | 23 |
|  |  |  |  | + - SH | 2 3 1 | 24 |
|  |  |  |  | + - SH | 2 3 1 | 25 |
|  |  |  |  | + - SH | 2 3 1 | 26 |
|  |  |  |  | + - SH | 2 3 1 | 27 |
|  |  |  |  | + - SH | 2 3 1 | 28 |
|  |  |  |  | + - SH | 2 3 1 | 29 |
|  |  |  |  | + - SH | 2 3 1 | 30 |
|  |  |  |  | + - SH | 2 3 1 | 31 |
|  |  |  |  | + - SH | 2 3 1 | 32 |

| SLOT NO.: 14/16 | MODULE TYPE 908 TRANSIENT DIGITIZER, CLK/TRIG |
| --- | --- |

| SIGNAL NAME | CONT. DWG | FCT | PIN# |
| --- | --- | --- | --- |
| TRIGGER INPUT - UPPER | FROM 404A, CH 2 OF 8 TOK1 : C = 22, N = 2 DEVICE : pc_404c22n2ch2_SUB | + - SH | 2 3 1 |
| TRIGGER INPUT - LOWER | TO 908 IN SLOTS 19/21 | + - SH | 2 3 1 |
| CLOCK INPUT - UPPER |  | + - SH | 2 3 1 |
| CLOCK INPUT - LOWER |  | + - SH | 2 3 1 |

| SLOT NO.: 19/21 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 1-16 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
| SDS Signal 3168 V/V | pc_pf1al_sds_vd1_f |  |  | + - SH | 2 3 1 | 1 |
| SDS Signal 3168 V/V | pc_pf1al_sds_vd2_f |  |  | + - SH | 2 3 1 | 2 |
| SDS Signal 3168 V/V | pc_pf1au_sds_vd1_f |  |  | + - SH | 2 3 1 | 3 |
| SDS Signal 3168 V/V | pc_pf1au_sds_vd2_f |  |  | + - SH | 2 3 1 | 4 |
|  |  |  |  | + - SH | 2 3 1 | 5 |
|  |  |  |  | + - SH | 2 3 1 | 6 |
|  |  |  |  | + - SH | 2 3 1 | 7 |
|  |  |  |  | + - SH | 2 3 1 | 8 |
|  |  |  |  | + - SH | 2 3 1 | 9 |
|  |  |  |  | + - SH | 2 3 1 | 10 |
| SDS Signal 3168 V/V | pc_oh_sds_vd1_f |  |  | + - SH | 2 3 1 | 11 |
| SDS Signal 3168 V/V | pc_oh_sds_vd2_f |  |  | + - SH | 2 3 1 | 12 |
| SDS Signal 3168 V/V | pc_tf_sds_vd1_f |  |  | + - SH | 2 3 1 | 13 |
| SDS Signal 3168 V/V | pc_tf_sds_vd2_f |  |  | + - SH | 2 3 1 | 14 |
|  |  |  |  | + - SH | 2 3 1 | 15 |
|  |  |  |  | + - SH | 2 3 1 | 16 |

| SLOT NO.: 19/21 | MODULE TYPE 908 TRANSIENT DIGITIZER, CHS 17-32 |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CX | FCT | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | + - SH | 2 3 1 | 17 |
|  |  |  |  | + - SH | 2 3 1 | 18 |
|  |  |  |  | + - SH | 2 3 1 | 19 |
|  |  |  |  | + - SH | 2 3 1 | 20 |
|  |  |  |  | + - SH | 2 3 1 | 21 |
|  |  |  |  | + - SH | 2 3 1 | 22 |
|  |  |  |  | + - SH | 2 3 1 | 23 |
|  |  |  |  | + - SH | 2 3 1 | 24 |
|  |  |  |  | + - SH | 2 3 1 | 25 |
|  |  |  |  | + - SH | 2 3 1 | 26 |
|  |  |  |  | + - SH | 2 3 1 | 27 |
|  |  |  |  | + - SH | 2 3 1 | 28 |
|  |  |  |  | + - SH | 2 3 1 | 29 |
|  |  |  |  | + - SH | 2 3 1 | 30 |
|  |  |  |  | + - SH | 2 3 1 | 31 |
|  |  |  |  | + - SH | 2 3 1 | 32 |

| SLOT NO.: 19/21 | MODULE TYPE 908 TRANSIENT DIGITIZER, CLK/TRIG |
| --- | --- |

| SIGNAL NAME | CONT. DWG | FCT | PIN# |
| --- | --- | --- | --- |
| TRIGGER INPUT - UPPER | FROM 908 IN SLOTS 14/16 | + - SH | 2 3 1 |
| TRIGGER INPUT - LOWER |  | + - SH | 2 3 1 |
| CLOCK INPUT - UPPER |  | + - SH | 2 3 1 |
| CLOCK INPUT - LOWER |  | + - SH | 2 3 1 |

| SLOT NO.: 06 | MODULE TYPE 302 DIGITAL OUTPUT |
| --- | --- |

| SIGNAL NAME | DEVICE ID | CONT. DWG | CROSS |  | CLR | PIN# | CH |
| --- | --- | --- | --- | --- | --- | --- | --- |
| NSTX Vacuum alarm to Security Linx Panel in rack 949. | vm_linx_vacalarm_BO | PPPL-B-ACS161, SHT 2. | direct | F B |  | 3B 3A | 1 |
| SPARE to Linx Panel | n/a | PPPL-B-ACS161, SHT 2. | direct | F B |  | 4B 4A | 2 |
|  |  |  |  | F B |  | 5B 5A | 3 |
|  |  |  |  | F B |  | 6B 6A | 4 |
|  |  |  |  | F B |  | 7B 7A | 5 |
|  |  |  |  | F B |  | 8B 8A | 6 |
|  |  |  |  | F B |  | 9B 9A | 7 |
|  |  |  |  | F B |  | 10B 10A | 8 |
|  |  |  |  | F B |  | 11B 11A | 9 |
|  |  |  |  | F B |  | 12B 12A | 10 |
|  |  |  |  | F B |  | 13B 13A | 11 |
|  |  |  |  | F B |  | 14B 14A | 12 |
|  |  |  |  | F B |  | 15B 15A | 13 |
|  |  |  |  | F B |  | 16B 16A | 14 |
|  |  |  |  | F B |  | 17B 17A | 15 |
|  |  |  |  | F B |  | 18B 18A | 16 |