## Slide 1
First results from Transmission
Grating Imaging Spectrometer
D. Kumar, D. Stutman, K. Tritz, M. Finkenthal
Plasma Spectroscopy Group,
Department of Physics and Astronomy,
The Johns Hopkins University.

## Slide 2: Device Setup
Motivation
  Provide impurity measurements for Multi-Energy Soft Xray system
  Impurity monitor in itself
Detection
  CsI coated MCP
  Phosphor screen
  CMOS imaging system

## Slide 3: Device Setup
Design advantages
  Survey spectrometer (30 A – 700 A)
  Robust to neutrons
  Provide spatial impurity distribution
Beam excited charge exchange emission
Electron excited emission (edge and core)
Frame exposure = 380 ms

## Slide 4: Grating details
Free standing Grating dimensions
  1 mm x 1 mm
  200 nm period
NIST calibrations

## Slide 5: Calibration through PID spectra
Al IV 161 A
Ne I 736
Ne II 461 A
24 A

## Slide 6: NSTX results – typical spectrum

## Slide 7: NSTX results – ohmic spectrum

## Slide 8: Ohmic shot – spatial profile (edge)

## Slide 9: Typical shot – spatial profile (Edge + CX + core)

## Slide 10: Big Question – What about Copper, Moly, Iron?

## Slide 11: Copper
No Copper observed.
Reason – The absence of Cu XIX doublet lines (2p63s – 2p63p) at 273 A and 303 A.

## Slide 12: Molybdenum
74 A Mo peak correlates with (Mn like Mo)
  Some shots where DIM observed Mo
  No LITER and strike points on LLD
However, no effect of Mo on Zeff
Data is noisy:

## Slide 13: Lithium
Spatial profile of the ohmic spectrum at 135 A confirms that some Li does get into the plasma.
With NBI, the spatial profile indicates that there is something in addition to charge exchange.

## Slide 14: Iron
Metals observed sometimes in the second frame when Prad rises.

## Slide 15: What about Oxygen, Chlorine?

## Slide 16: Oxygen
MCP needs to be calibrated for proper calculations
From C VI 182 and O VIII 293 A:
From C VI 521 and O VIII 293 A:
2.5

## Slide 17: Chlorine (SPRED)
C IV 312 A
Cl XV 237 A

## Slide 18: Chlorine (accumulation)

## Slide 19: Summary of Cl
The presence of 237 A Cl XIV along with Cl XV lines at 384 A and 415 A clearly confirms Cl
Cl emission substantially brighter with NBI
Cl seems to accumulate (towards core) with time
SPRED indicates presence of Cl at least since March 2007

## Slide 20: Conclusion
Results – C, O, Cl, Li, Fe, Mo (?), Cu
Future direction
  Geometric modeling
  High speed readout
  After run – Calibration of MCP efficiency

## Slide 21: Acknowledgements
PPPL
  L. Roquemore
  R. Kaita
  V. Soukhanovskii
  C. Skinner
  S. Gerhardt
  G. Zimmer
  NSTX 2nd shift – John, Jerry & Ron
  VPL – Tommy
  J. Winston
  J. Dong
  J. Wertenbaker
SSL, Berkeley
  J. Lepson
NIST
  C. Tarrio