| Princeton Plasma Physics Laboratory NSTX Machine Proposal |
| --- |
| Title: FIDA blue/red shift checkout |
| OP-XMP-? | Revision: 0 | Effective Date: (Ref. OP-AD-97) Expiration Date: (2 yrs. unless otherwise stipulated) |
| Procedure Approvals |
| Responsible author: W. Heidbrink | Date 1/12/09 |
| ATI (NSTX Physics Ops): D. Mueller | Date |
| RLM (NSTX Experimental Research Ops): M.G. Bell | Date |
| Responsible Division: Experimental Research Operations |
| Procedure Requirements designated by RLM |
|  | NSTX Work Permit |  | T-MOD (OP-AD-03) |
|  | Independent Review |  | ES&H Review |
| MINOR MODIFICATIONS |

| REVIEWERS (designated by RLM) |
| --- |
| Organization/Position | Name | Signature |
| ATI | D. Mueller |  |
| Test Director |  |  |
| Independent Reviewer |  |  |
| NB |  |  |
| RF |  |  |
| Diagnostics |  |  |

| TRAINING (designated by RLM) Training required: No ( Yes ( Instructor _____________________ |
| --- |
| Personnel (group, job title or individual name) | Read Only | Instruction | Hands-On |
| Training Rep. _______________________________ |  |  |  |

RLM  ____________________________________

NSTX MACHINE PROPOSAL

| TITLE: FIDA blue/red shift checkout | No. OP-XMP-?? |
| --- | --- |
| AUTHORS: W. Heidbrink, M. Podesta’ | DATE: 1/12/09 |

## 1.	Overview:

Use modulated neutral-beam injection at low voltage in plasmas with different values of toroidal and poloidal field to confirm a predicted asymmetry between the short and long-wavelength sides of the FIDA spectra..

## 2.	Justification:

Calculations indicate that there should be marked differences in the blue and red-shifted FIDA spectra caused by two special features of the ST: large poloidal field and large gyroradius.  The large poloidal field causes a large field-line pitch that, for a downward vertical view and co-passing ions in standard NSTX geometry, makes the blue-shifted signals larger than the red-shifted signals outside the magnetic axis (and vice versa inside).  In the presence of a gradient in the spatial profile of guiding centers, the large gyroradius causes the blue-shifted profile to shift inward, while the red-shifted spectra shift outward (for the standard clockwise toroidal field). To date, the predicted asymmetries are not observed in the data, casting doubt on the validity of the data (especially the red-shifted spectra).  MHD-quiescent plasmas (where the fast-ion distribution function is reasonably well known) with special neutral beam injection patterns are needed to understand this discrepancy.  Note that measurements with either reversed plasma current or reversed toroidal field are also highly desirable.

## 3.	Plan:

Baseline condition: 0.8 MA, 5.5 kG, 3-4e13 cm-3, deuterium gas (~128742 –exact conditions not crucial).  Sources B and C at 65 keV; Source A at 90 keV.

1) Baseline Source B at 50% duty cycle (10 ms on/off).  Establish baseline.  Add 40 ms Source A pulse at beginning and  end of time of interest for MSE data.  (2-3 shots)

2) Toroidal Field Scan.  Lower toroidal field to 4.5 kG, then 3.5 kG.  (2 shots)

3) Plasma Current Scan. At 5.5 kG, lower current to 0.5 MA, then raise current to 1.2 MA (2 shots).

4) Source C.  In most interesting condition, substitute Source C for Source B (1 shot).

5) Filter Scan Repeat favorite case several times while scanning the angle of the f-FIDA bandpass filter (3 shots).

4.	Required machine, beam, ICRF and diagnostic capabilities:

Machine: nothing special.  Need fairly clean machine to avoid impurity contamination of FIDA spectra..

Beam:  Lower voltage operation than usual & beam modulation.

ICRF:  not needed.

Diagnostics:  Magnetics to verify quiet plasma; fast-ion (neutrons, NPA, SSNPA, sFLIP) to corroborate FIDA; plasma (Thomson scattering, CHERS) for theoretical fast-ion distribution function, MSE for field-line pitch.

## 5.	Sign off at run time:

5.1	Permission to Proceed:

Physics Operations Head

5.2	Documentation of results:

Documentation of the results completed, attached to proposal and sent to Ops. Center with copies to Cognizant Physicist and Head of Physics Operations.

Cognizant Physicist/Test Director

PHYSICS OPERATIONS REQUEST

| TITLE: FIDA blue/red shift checkout | No. OP-XMP-?? |
| --- | --- |
| AUTHORS: W. Heidbrink, M. Podesta’ | DATE: 1/12/08 |

Machine conditions (specify ranges as appropriate)

ITF (kG): 3.0-5.5	Flattop start/stop (s): 0/0.75

IP (MA): 0.5-1.1	Flattop start/stop (s): 0.25/0.5

Configuration: Inner Wall Limiter (shape not crucial)

Outer gap (m): 	0.04	Inner gap (m): 0

Elongation :	1.9	Triangularity : 0.4

Z position (m):	0

Gas Species: 	D 	Injector(s): Midplane/Inner wall/ Lower dome

NBI Species: D	Sources: A/B/C 	Voltage (kV): 90/65/65 	Duration (s): 0.4

ICRF Power (MW): 0	Phasing: 		Duration (s):

CHI:	Off	Bank capacitance (mF):

LITER:  Off

Either:	List previous shot numbers for setup:  128742

Or:	Sketch the desired time profiles, including inner and outer gaps, , , heating, fuelling, etc. as appropriate. Accurately label the sketch with times and values.

DIAGNOSTIC CHECKLIST

| TITLE: FIDA blue/red shift checkout | No. OP-XMP-?? |
| --- | --- |
| AUTHORS: W. Heidbrink, M. Podesta’ | DATE: 1/12/09 |

| Diagnostic | Need | Want | Conditions |
| --- | --- | --- | --- |
| Bolometer – tangential array |  |  |  |
| Bolometer – divertor |  |  |  |
| CHERS – toroidal | x |  |  |
| CHERS – poloidal |  | x |  |
| Divertor fast camera |  |  |  |
| Dust detector |  |  |  |
| EBW radiometers |  |  |  |
| Edge deposition monitors |  |  |  |
| Edge neutral density diag. |  |  |  |
| Edge pressure gauges |  |  |  |
| Edge rotation diagnostic |  |  |  |
| Fast ion D_alpha – FIDA | x |  |  |
| Fast lost ion probes – IFLIP |  | x |  |
| Fast lost ion probes – SFLIP | x |  |  |
| Filterscopes | x |  |  |
| FIReTIP |  | x |  |
| Gas puff imaging |  |  |  |
| H camera - 1D |  | x |  |
| High-k scattering |  |  |  |
| Infrared cameras |  |  |  |
| Interferometer - 1 mm |  |  |  |
| Langmuir probes – divertor |  |  |  |
| Langmuir probes – BeaP |  |  |  |
| Langmuir probes – RF ant. |  |  |  |
| Magnetics – Diamagnetism |  | x |  |
| Magnetics – Flux loops |  | x |  |
| Magnetics - Locked modes |  | x |  |
| Magnetics - Pickup coils |  |  |  |
| Magnetics - Rogowski coils |  | x |  |
| Magnetics – Halo currents |  |  |  |
| Magnetics - RWM sensors |  |  |  |
| Mirnov coils – high f. | x |  |  |
| Mirnov coils – poloidal array | x |  |  |
| Mirnov coils – toroidal array | x |  |  |
| Mirnov coils – 3-axis proto. |  | x |  |
| MSE |  | x |  |
| NPA – ExB scanning | x |  |  |
| NPA – solid state | x |  |  |
| Neutron measurements | x |  |  |
| Plasma TV |  |  |  |
| Reciprocating probe |  |  |  |
| Reflectometer – 65GHz |  | x |  |
| Reflectometer – correlation |  |  |  |
| Reflectometer – FM/CW |  |  |  |
| Reflectometer – fixed f |  | x |  |
| Reflectometer – SOL |  |  |  |
| RF edge probes |  |  |  |
| Spectrometer – SPRED |  |  |  |
| Spectrometer – VIPS |  | x |  |
| SWIFT – 2D flow |  |  |  |
| Thomson scattering | x |  |  |
| Ultrasoft X-ray arrays |  | x |  |
| Ultrasoft X-rays – bicolor |  |  |  |
| Ultrasoft X-rays – TG spectr. |  |  |  |
| Visible bremsstrahlung det. |  | x |  |
| X-ray crystal spectrom’r - H |  |  |  |
| X-ray crystal spectrom’r - V |  |  |  |
| X-ray fast pinhole camera |  |  |  |
| X-ray spectrometer - XEUS |  |  |  |