NSTX CALCULATION

Page 1 of 1

TITLE_____Operation of OH and PF1A Lead Bus Bars w/o Water Cooling_________

CALC. NO._NSTX-CALC-13-30		DATE ____7/7/4	_

ORIGINATOR__C. Neumeyer__CHECKER_____S. Ramakrishnan ___Rev.___0__

PURPOSE:

Determine if bus bars can be run without water cooling, with cooling via convection only.

REFERENCES:

Ampacity per 1993 NEC Handbook Table 310-17

G Function per NSTX-CALC-13-1

ASSUMPTIONS:

See attached.

CALCULATION:

See attached.

CONCLUSION:

Temperatures will not exceed 75C average, and 90C peak.