NSTX CALCULATION

Page 1 of 1

TITLE_____Operation of TF Outer Legs w/o Water Cooling_________

CALC. NO._NSTX-CALC-13-31		DATE ____6/29/4	_

ORIGINATOR__P. Heitzenroeder__CHECKER_____A. Brooks ___Rev.___0__

PURPOSE:

Determine if TF outer legs can be run without water cooling, with cooling via convection and radiation only.

REFERENCES:

ASSUMPTIONS:

See attached.

CALCULATION:

See attached.

CONCLUSION:

Temperatures will not exceed 66C with rated TF operations (5e9 A^2-sec once every 300 sec)