NSTX CALCULATION

Page 1 of 1

TITLE____TF Electrical Performance

CALC. NO.____52-1____________			DATE___4/2/97______

ORIGINATOR___C Neumeyer________CHECKER____S Ramakrishnan___Rev.___0__

PURPOSE:

This calculation presents the results of a simulation of the TF power supply and coil system electrical performance.

See attached write up:

"TF Simulation"

REFERENCES:

Given in attached write up.

ASSUMPTIONS:

Given in attached write up.

CALCULATION:

Given in attached write up.

Note: all digital documents stored in NSTX File Share, Engineering Folder,  Engineering Calculations Folder. Hard copies of all documents stored in NSTX project file.

CONCLUSION:

TF power supply can be implemented using 1 series x 4 parallel power supply sections. ESW (worst case due to fail to invert at the end of flat top) is 5.3 seconds.