NSTX CALCULATION

Page 1 of 1

TITLE____OH Electrical Performance

CALC. NO.____53-1____________			DATE___4/11/97______

ORIGINATOR___C Neumeyer________CHECKER___S Ramakrishnan___Rev.___0__

PURPOSE:

This calculation presents the results of a simulation of the OH power supply and coil system electrical performance.

See attached write up:

"OH Simulation"

REFERENCES:

Given in attached write up.

ASSUMPTIONS:

Given in attached write up.

CALCULATION:

Given in attached write up.

Note: all digital documents stored in NSTX File Share, Engineering Folder,  Engineering Calculations Folder. Hard copies of all documents stored in NSTX project file.

CONCLUSION:

OH power supply can be implemented using 4 series x 2 anti-parallel power supply sections. Additional 2 series layers can be introduced if required for additional loop voltage during initiation.