30-980312-EDP-01

Design Review Results

Title:  NSTX Instrument Air / GN2 / Vacuum Exhaust Systems			DCA#: _221__

CDR ❏   PDR ❏   FDR ✸   Cognizant Engineer:  V. Garzotto  Date of Review: 3/12/98

Review Board Members:		Invited attendees :

Chairperson  E. Perry			QA  none

Regulatory Compliance:  J. Levine		R. Kaita				C. Neumeyer

W. Blanchard				E. Fredd				M. Cropper

L. Dudek				C. Brunkhorst			R. Gernhardt

V. Garzotto				H. Carnevale			T. Stevenson

Items Reviewed:				          	Sat.	Unsat.		Comments

Design Change Requirements Document 			✸    	❏		needs to be approved by M. Ono

Operational scenarios and system interactions		✸    	❏		__________________________

Regulatory compliance issues including USQD and NEPA	✸   	❏		_____________		____

Startup testing and acceptance criteria 			✸     	❏		_____			____

Disposition of CHITS generated from previous reviews	✸	❏		__________________________

SUMMARY OF RESULTS:

This FDR was deemed to be successful by the review board.  Ten chits were generated,  all of which are minor adjustments to the design / requirements or are reminders of how installation and testing should proceed.

NOTE: 	Per OP-AD-104, the Final Design Review is a management review of a design change to ensure it meets regulatory requirements, is compatible with existing systems, and does not create any safety problems.

Design Reviews are a top level review of a proposed design change by Division/Branch Heads and are not intended to be an in-depth technical review of design details or calculations.  The review of design details is to be done as part of the engineering process through peer reviews; checking of analyses, calculations, and drawings; consultations with subject matter experts; and engineering working groups.

Disposition: [check one]

Acceptable - Proceed with Design Change Package.

X      Acceptable pending resolution of concerns- CHITS identified above must be resolved prior to installation.

_______ Incomplete - Additional design work is required prior to another design review.

Chairperson Signature:  Erik D. Perry____________________________________Date: 3/12/98__

Distribution:   Review Board Members, Operations Center, Cognizant Engineer, Responsible Manager, D-Site Manager