4X-970910-RK-01

TO: DISTRIBUTION

FROM: R  KAITA
SUBJECT:  EVALUATION OF INTERFEROMETRY

Reference: Action Item # 32

This memo brings to closure Action Item #32 from the from the Engineering Cost and Schedule Review of July 30 - August 1, 1996. The concern is stated as follows.

“Concern that a 1 mm microwave interferometer may not work well over the high range of NSTX core densities, may wish to consider a different interferometer.”

To address this, a calculation was performed to determine the refraction for a 170 GHz microwave interferometer, assuming a core density of 5 x 1013 cm-3. The result is shown in Fig. 1, which indicates that line-averaged density measurements should be possible with a system at this lower frequency and longer wavelength. The components shall be obtained from TFTR, and the port space required on opposite sides of NSTX is available.

cc:

D Johnson

P Heitzenroeder

S Kaye

E Mazzucato

M McCarthy

C Neumeyer

M Ono

M Peng

C Such

NSTX File