## Sheet1
Attachment 2
NSTX WBS5 - POWER SYSTEM CABLING
RELATED FACILITY MODIFICATIONS COST ESTIMATE (FULLY LOADED)
ITEM | TRADE | ORG | HOURS | RATE | MATERIAL | TOTAL
PENETRATIONS
Remove HVAC Duct Chase in TCB | Tech | F&EM | 200 | 40.52 |  | 8104
Seal Penetration in TC | Tech | F&A | 80 | 56.15 | 625 | 5117
Seal Penetration in TCB | Tech | F&A | 40 | 56.16 | 625 | 2871.4
Seal Penetration in HC | Tech | F&A | 20 | 56.16 | 250 | 1373.2
Enlarge Penetration #320 | Sub | Whisp |  |  |  | 13750
Add Six 9" Dia. Penetrations Bwt MER/HC | Sub | Whisp |  |  |  | 3750
[6 empty] | Subtotal: | 34966
HVAC DUCTWORK
Rework TC Ductwork and Reattach | Sub | K&H |  |  |  | 12500
Rework TCB Ductwork and Reattach | Sub | K&H |  |  |  | 6250
Rework HEPA Filter, F-106 Ductwork | Sub | K&H |  |  |  | 6250
Reroute and Reinforce RF-106 Duct | Sub | K&H |  |  |  | 6250
[6 empty] | Subtotal: | 31250
FACILITY ELECTRICAL
Reroute Electri. in TCB | Tech | F&EM | 120 | 40.52 | 625 | 5487.4
Reroute Electri. in MER | Tech | F&EM | 200 | 40.52 | 1250 | 9354
Additional Smoke Detectors | Tech | F&EM | 120 | 40.52 | 1250 | 6112.4
[6 empty] | Subtotal: | 20954
FACILITY FIRE PROTECTION
Reroute Sprink. Piping in TCB | Tech | F&EM | 80 | 40.52 | 250 | 3491.6
Reroute Sprink. Piping in MER | Tech | F&EM | 80 | 40.52 | 250 | 3491.6
Additional Sprink. in MER/TCB | Tech | F&EM | 200 | 40.52 | 1250 | 9354
[6 empty] | Subtotal: | 16337
FACILITY PLUMBING & IA
Reroute IA Piping and Tubing | Tech | F&EM | 200 | 40.52 | 125 | 8229
Misc. Plumbing (Rad Vents) | Tech | F&EM | 200 | 40.52 | 125 | 8229
[6 empty] | Subtotal: | 16458
STRUCTURAL
Add 10'x20' Platform in MER | Tech | F&A | 120 | 56.15 | 2500 | 9238
Add 10'x10' Platform in TCB | Tech | F&A | 60 | 56.15 | 1250 | 4619
Misc. Relocate Suppots | Tech | F&A | 100 | 56.15 | 625 | 6240
Install Power Supply Cage | Tech | F&A | 80 | 56.15 | 625 | 5117
[6 empty] | Subtotal: | 25214
DESIGN & DRAFTING
| Drafting | F&A | 240 | 70.83 |  | 16999.2
| Engineer | D&A | 60 | 115.79 |  | 6947.4
| Engineer | F&A | 100 | 107.28 |  | 10728
[6 empty] | Subtotal: | 34675
|  |  |  | Material Total: | 11625
[6 empty] | Total: | 179853
[6 empty] | CONTINGENCY @ 10% | x 1.1
[6 empty] | TOTAL: | 197839