Advances in Fast 2-D Camera Data Handling and Analysis on NSTX

W. M. Davisa*, R.I. Patelb, W. U. Boeglinb, A.L. Roquemorea, R.J. Maquedac, S.J. Zwebena

aPrinceton Plasma Physics Laboratory, P.O. Box 451, Princeton, NJ, 08543, USA

bDept. of Physics, Florida International University, Miami, FL 33199

cNova Photonics, Princeton, NJ, 08543, USA

Abstract

The use of fast 2-D cameras on NSTX continues to grow.  There are 6 cameras with the capability of taking up to 1-2 gigabytes (GBs) of data apiece during each plasma shot on the National Spherical Torus Experiment (NSTX).  Efficient storage and retrieval of this data remains a challenge. Performance comparisons are presented for reading data stored in MDSplus, using both compressed data and segmented records, and direct access I/O with different read sizes. Encouragingly, fast 2-D camera data provides considerable insight into plasma complexities, such as small scale turbulence and particle transport. The last part of this paper is an example of more recent uses: dual cameras looking at the same region of the plasma from different angles, which can provide trajectories of incandescent particles in 3-D. A laboratory simulation of the 3-D trajectories is presented, as well as corresponding data from an NSTX plasma where glowing dust particles can be followed.

Keywords: NSTX, Fast Cameras, MDSplus

# 1. Introduction

The National Spherical Torus Experiment (NSTX) is a medium-sized, magnetically-confined, fusion experiment (plasma major radius up to 85 cm, minor radius up to 68 cm) at the Princeton Plasma Physics Laboratory (PPPL) [1]. NSTX is particularly well suited to studying particle confinement, turbulence, plasma facing component conditions, and the internal characteristics of plasmas, due in large part to the open geometry of NSTX which allows good diagnostic access. Fast 2-D cameras play important roles in these studies. During an experimental discharge, or “shot,” a plasma is sustained for approximately one second and about 1 GB of scalar and time-varying signal data is acquired from numerous plasma control subsystems as well as over 50 individual diagnostics. An additional 3-4 GBs are archived from fast 2-D cameras.  Most signal data is transferred to and stored on centralized data servers in MDSplus [2,3,4] and is available to display programs and automatic analysis tasks anywhere between 10 seconds and 3 minutes after the discharge. Our data stored in MDSplus is easy to locate and read; we have not yet been as consistent in storing our fast camera data.  A typical NSTX run day produces about 40 discharges. NSTX runs for between 60 and 80 days a year. 11 terabytes of raw and analyzed NSTX (compressed) data currently reside on centralized disks.

# 2. Overview of Fast 2-D Camera applications on NSTX

Table 1. Characteristics of Fast 2-D Cameras used on NSTX.

Fast 2-D Cameras (see Table 1) are used to look at a variety of different phenomena inside the vacuum vessel of NSTX.  Recording rapidly-varying features within plasmas provide insight into a host of processes including plasma-wall interactions, impurity production and transport, divertor performance, etc.  The evolution of Edge Localized Modes (ELMs) and MARFES has been recorded at over 100,000 frames/s [5]. Two Phantom cameras [6] have been used to look at heat deposition and macroscopic dust creation in the diverter region of NSTX and a number of divertor detachment scenarios [7].  These latter phenomena require the application of narrow band interference filters to view specific elements in various excited states. The color Miro camera can be used as a good indicator of a number of excited states. Turbulent structures in the plasma edge have been visualized using deuterium gas puffs recorded at 250,000 frames/s allowing characterizations that can be compared with theoretical models of turbulent flow [8]. 3D particle trajectories of macroscopic incandescent dust particles have been obtained for NSTX plasmas by using two cameras with overlapping fields of view [9]. Recent work using 2 Fast Cameras to track dust particles is presented below.

# 3. Data handling performance comparisons

In the NSTX Control Room,  animations from the fast 2-D color Miro camera are displayed on a large screen Display Wall, and several more people might be playing the animations at their workstations. Moving large amounts of data from storage to the various workstations can slow down the network performance to the point where the animations can not be played at useful speeds. Using widely-known standards such as MDSplus is an important consideration when selecting data-handling solutions, however, overall performance can also influence design decisions.

Table 2 shows the time to read 100 MB in our typical configuration (on an 8-CPU 2.6 GHz Linux computer with 10 GBs of memory accessing SAN disks connected via fibre channel); there were no TCP/IP transfers used in these tests.  This would only be 1/3 to 1/10 of the data from a typical Fast 2-D Camera for a discharge on NSTX. All of these tests were made from IDL [10]. The number of “reads” indicated is actually the number of calls to read subroutines, and, generally, not the actual number of I/O requests to the disk. The advantage of using MDSplus segmented records or something like OPeNDAP (Open-source Project for a Network Data Access Protocol) [11], is that fractions of large data sets can be read, rather having to wait for huge data sets to be transferred. This is also the case with direct I/O, as used in the custom-written code we use for accessing “vendor’s files,” which are “cine” files in the case of Phantom Cameras. Direct access also occurs when individual frames are stored as image files. The substantial drawback with these custom solutions is that every format requires different access methods and the files can be in random locations. Perhaps the performance of MDSplus can be enhanced so users can benefit from both convenience and speed.  Some preliminary tests using the OPeNDAP protocol at another site took 160 seconds to read 100MB on a local disk. More work needs to be done to make these tests more consistent, or to understand this difference.

Table 2. Times to read 100MB of data from a SAN connected via 2 Gigabit/s fibre channel.

4. Particle Trajectory Tracking in 3 Dimensions

The rest of this paper describes an example of using 2 Fast Cameras for characterizing a plasma. Tracking incandescent “dust” in plasmas can help analyze plasma behavior, and determine the transport of pre-characterized injected material. The lithium dust particles shown in Fig. 1 move on the order of 10m/s. Particles moving at 100’s of m/s can be tracked with these fast cameras. Dust accumulation can be a problem for the coating of diagnostic windows and mirrors and dust will be a concern in future reactors, such as ITER for radioactive contamination and performance degradation. Three dimensional trajectories of particles can be constructed from images made by two cameras recording the same particle tracks [12], as illustrated in Fig. 2.

Fig.1. 40 micron diameter Lithium dust being dropped into NSTX. The box encloses the same particles in views from 2 different Fast Cameras. The cameras are operated at up to 20,000 frames/s and dust particle velocities of up to 100 m/s have been observed.

Fig. 2. Reconstructed trajectories of visible particles in NSTX. Projections of tracks from above are shown in gray on the X-Y plane.

Various image processing techniques can be used when images are cluttered or when the background light makes the particles difficult to discern.  Background subtraction, threshholding, contrast enhancement, edge enhancement and moment calculations are used to clarify the particle locations.  By knowing the locations of the cameras in NSTX coordinates, the pixel locations of the particles, and positions of various reference points within each camera’s field-of-view, lines can be computed connecting the camera lens with the particles (see Fig. 3). With 2 lines in three dimensions, the intersection of the lines can be computed, or the mid-point of the closest distance between the two lines, if they don’t intersect. If the distance between lines is not within 5 cm of each other, the point is discarded.

Fig. 3. Two Cameras are used to compute 3-D position (from W. Boeglin [12])

Fig. 4. Calculated positions of a ball rolled against a wall in the laboratory, to validate calculated positions of particles within a plasma.

Fig. 4 shows trajectories of particles recorded in NSTX from these two cameras reconstructed with the Dust Track Reconstruction Code (DTRC) [12].  The jagged paths of the particles are suspected to be numerical artifices, but may indicate something physical, such as interactions with filaments passing through the volume. More investigation is needed here. Data from DTRC can be used to validate theoretical transport codes such as DUSTT [13].

To validate the DTRC code, a grid was put on two walls in the corner of a room and two Phantom cameras were pointed at the corner from different angles. The framing rate of one camera was slaved to the other, and a pulse generator manually triggered both cameras. A ball was rolled down a ramp next to one wall, swung on a pendulum, etc. Positions of the ball in time were then known analytically.  Plots of the computed positions in these tests agreed with the known locations of the balls, as shown in Fig. 4.

# 5. Summary

Fast 2-D cameras are excellent sources of information for operating a fusion experiment and for understanding important internal processes in plasmas. The data loads, which can easily be several times the size of all other shot-data combined, are a challenge for timely acquisition and retrieval, efficient storage. Likewise, new analysis methods are needed to digest these vast amounts of information and to understand the physics being revealed. Results presented here suggest that improvements to widely-used data storage standards, such as compression methods optimized for plasma video data, would be cost effective. The obvious benefits of these systems may not justify the excessive access times and storage space for some users. Tracking small, quickly moving particles in a plasma is an image processing challenge, and more work is needed to validate and extend existing codes.

# Acknowledgements

# The authors thank Tom Fredian from MIT and Michael Galloy from the Tech-X Corporation for fruitful discussions and data from performance tests.  This work was supported by DOE Contract DE-AC02-09CH11466.

# References

[1] S. Kaye, M. Ono, Y.-K.M.Peng, D.B. Batchelor, M.D. Carter, W. Choe,  et al., “The Physics Design of the National Spherical Torus Experiment.”, Fusion Technology 36, July 1999, p. 16, or http://nstx.pppl.gov/

[2] MDSplus, http://www.mdsplus.org/

[3] J.A. Stillerman, T.W. Fredian, K.A. Klare, G. Manduchi, “MDSplus Data Acquisition System” Rev. of Sci. Instrum.  68 (1) January 1997, p. 939.

[4] W. Davis, P. Roney, T. Carroll, T. Gibney, D. Mastrovito, “The use of MDSplus on NSTX at PPPL”, Fusion Eng. Des. 60 (2002), 247-251.

[5] R. J. Maqueda and R. Maingi, “Primary edge localized mode filament structure in the National Spherical Torus Experiment”, Phys. Plasmas 16, 056117, May 2009.

[6] Phantom cameras,  http://www.visionresearch.com/

[7] R. Maingi, C.E. Bush, E.D. Fredrickson, D.A. Gates, S.M. Kaye, et. al., "H-mode Pedestal, ELM, and  Power Threshold Studies in NSTX", Nucl. Fusion 45 (2005) 1066.

[8] S.J. Zweben, et al,, “Structure and motion of edge turbulence in the National Spherical Torus Experiment and Alcator C-Mod”, Phys. Plasmas 13, 056114 (2006).

[9] A.L. Roquemore, N. Nishino, C.H. Skinner, C. Bush, R. Kaita, R. Maqueda, W. Davis, A.Yu Pigarov, S.I. Krasheninnikov,  “3D measurements of mobile dust particle trajectories in NSTX”,
Journal of Nuclear Materials, Volumes 363-365, 15 June 2007, pp. 222-226.

[10] IDL (Interactive Data Language), The Data Visualization & Analysis Platform, http://www.ittvis.com/idl/

[11] OPeNDAP, Open-source Project for a Network Data Access Protocol,  http://www.opendap.org/

[12] W.U. Boeglin, A.L. Roquemore, R. J. Maqueda, “Three-dimensional reconstruction of dust particle trajectories in the NSTX “, Rev. of Sci. Instrum. 79 10F334 (OCT 2008).

[13] A. Yu. Pigarov, S.I. Krasheninnikov, T.K. Soboleva, and T.D. Rognlien, “Transport of dust particles in tokamak devices “, Phys. Plasma 12 122508 (2005)

# Footnotes

* Corresponding author. E-mail: bdavis@pppl.gov,  Phone: (609)-243-2546,  Fax: (609)-243-3086